## Terminal
Name | ConnectionPoint | ParentEquipment | Type | Line | Phases | Location
Term02 | cn2 | Line0 | Terminal | 123BusFeeder | 2 | l1
Term01 | cn1 | Line0 | Terminal | 123BusFeeder | 2 | l1
Term1 | cn0 | Line1 | Terminal | 123BusFeeder | 7 | l1
Term2 | cn1 | Line2 | Terminal | 123BusFeeder | 4 | l1
Term3 | cn1 | Line3 | Terminal | 123BusFeeder | 7 | l1
Term4 | cn3 | Line4 | Terminal | 123BusFeeder | 4 | l1
Term5 | cn3 | Line5 | Terminal | 123BusFeeder | 4 | l1
Term6 | cn5 | Line6 | Terminal | 123BusFeeder | 4 | l1
Term7 | cn7 | Line7 | Terminal | 123BusFeeder | 7 | l1
Term8 | cn8 | Line8 | Terminal | 123BusFeeder | 2 | l1
Term9 | cn8 | Line9 | Terminal | 123BusFeeder | 1 | l1
Term10 | cn8 | Line10 | Terminal | 123BusFeeder | 7 | l1
Term11 | cn9 | Line11 | Terminal | 123BusFeeder | 1 | l1
Term12 | cn13 | Line12 | Terminal | 123BusFeeder | 4 | l1
Term13 | cn13 | Line13 | Terminal | 123BusFeeder | 7 | l1
Term14 | cn14 | Line14 | Terminal | 123BusFeeder | 1 | l1
Term15 | cn14 | Line15 | Terminal | 123BusFeeder | 1 | l1
Term16 | cn15 | Line16 | Terminal | 123BusFeeder | 4 | l1
Term17 | cn15 | Line17 | Terminal | 123BusFeeder | 4 | l1
Term18 | cn18 | Line18 | Terminal | 123BusFeeder | 1 | l1
Term19 | cn18 | Line19 | Terminal | 123BusFeeder | 7 | l1
Term20 | cn19 | Line20 | Terminal | 123BusFeeder | 1 | l1
Term21 | cn21 | Line21 | Terminal | 123BusFeeder | 2 | l1
Term22 | cn21 | Line22 | Terminal | 123BusFeeder | 7 | l1
Term23 | cn23 | Line23 | Terminal | 123BusFeeder | 4 | l1
Term24 | cn23 | Line24 | Terminal | 123BusFeeder | 7 | l1
Term25 | cn25 | Line25 | Terminal | 123BusFeeder | 5 | l1
Term26 | cn25 | Line26 | Terminal | 123BusFeeder | 7 | l1
Term27 | cn26 | Line27 | Terminal | 123BusFeeder | 5 | l1
Term28 | cn26 | Line28 | Terminal | 123BusFeeder | 4 | l1
Term29 | cn27 | Line29 | Terminal | 123BusFeeder | 1 | l1
Term30 | cn28 | Line30 | Terminal | 123BusFeeder | 7 | l1
Term31 | cn29 | Line31 | Terminal | 123BusFeeder | 7 | l1
Term32 | cn30 | Line32 | Terminal | 123BusFeeder | 7 | l1
Term33 | cn31 | Line33 | Terminal | 123BusFeeder | 4 | l1
Term34 | cn34 | Line34 | Terminal | 123BusFeeder | 4 | l1
Term35 | cn35 | Line35 | Terminal | 123BusFeeder | 3 | l1
Term36 | cn35 | Line36 | Terminal | 123BusFeeder | 7 | l1
Term37 | cn36 | Line37 | Terminal | 123BusFeeder | 1 | l1
Term38 | cn36 | Line38 | Terminal | 123BusFeeder | 2 | l1
Term39 | cn38 | Line39 | Terminal | 123BusFeeder | 2 | l1
Term40 | cn40 | Line40 | Terminal | 123BusFeeder | 4 | l1
Term41 | cn40 | Line41 | Terminal | 123BusFeeder | 7 | l1
Term42 | cn42 | Line42 | Terminal | 123BusFeeder | 2 | l1
Term43 | cn42 | Line43 | Terminal | 123BusFeeder | 7 | l1
Term44 | cn44 | Line44 | Terminal | 123BusFeeder | 1 | l1
Term45 | cn44 | Line45 | Terminal | 123BusFeeder | 7 | l1
Term46 | cn45 | Line46 | Terminal | 123BusFeeder | 1 | l1
Term47 | cn47 | Line47 | Terminal | 123BusFeeder | 7 | l1
Term48 | cn47 | Line48 | Terminal | 123BusFeeder | 7 | l1
Term49 | cn49 | Line49 | Terminal | 123BusFeeder | 7 | l1
Term50 | cn50 | Line50 | Terminal | 123BusFeeder | 7 | l1
Term51 | cn52 | Line51 | Terminal | 123BusFeeder | 7 | l1
Term52 | cn53 | Line52 | Terminal | 123BusFeeder | 7 | l1
Term53 | cn54 | Line53 | Terminal | 123BusFeeder | 7 | l1
Term54 | cn54 | Line54 | Terminal | 123BusFeeder | 7 | l1
Term55 | cn55 | Line55 | Terminal | 123BusFeeder | 7 | l1
Term56 | cn57 | Line56 | Terminal | 123BusFeeder | 2 | l1
Term57 | cn57 | Line57 | Terminal | 123BusFeeder | 7 | l1
Term58 | cn58 | Line58 | Terminal | 123BusFeeder | 2 | l1
Term59 | cn60 | Line59 | Terminal | 123BusFeeder | 7 | l1
Term60 | cn60 | Line60 | Terminal | 123BusFeeder | 7 | l1
Term61 | cn62 | Line61 | Terminal | 123BusFeeder | 7 | l1
Term62 | cn63 | Line62 | Terminal | 123BusFeeder | 7 | l1
Term63 | cn64 | Line63 | Terminal | 123BusFeeder | 7 | l1
Term64 | cn65 | Line64 | Terminal | 123BusFeeder | 7 | l1
Term65 | cn67 | Line65 | Terminal | 123BusFeeder | 1 | l1
Term66 | cn67 | Line66 | Terminal | 123BusFeeder | 7 | l1
Term67 | cn67 | Line67 | Terminal | 123BusFeeder | 7 | l1
Term68 | cn68 | Line68 | Terminal | 123BusFeeder | 1 | l1
Term69 | cn69 | Line69 | Terminal | 123BusFeeder | 1 | l1
Term70 | cn70 | Line70 | Terminal | 123BusFeeder | 1 | l1
Term71 | cn72 | Line71 | Terminal | 123BusFeeder | 4 | l1
Term72 | cn72 | Line72 | Terminal | 123BusFeeder | 7 | l1
Term73 | cn73 | Line73 | Terminal | 123BusFeeder | 4 | l1
Term74 | cn74 | Line74 | Terminal | 123BusFeeder | 4 | l1
Term75 | cn76 | Line75 | Terminal | 123BusFeeder | 7 | l1
Term76 | cn76 | Line76 | Terminal | 123BusFeeder | 7 | l1
Term77 | cn77 | Line77 | Terminal | 123BusFeeder | 7 | l1
Term78 | cn78 | Line78 | Terminal | 123BusFeeder | 7 | l1
Term79 | cn78 | Line79 | Terminal | 123BusFeeder | 7 | l1
Term80 | cn80 | Line80 | Terminal | 123BusFeeder | 7 | l1
Term81 | cn81 | Line81 | Terminal | 123BusFeeder | 7 | l1
Term82 | cn81 | Line82 | Terminal | 123BusFeeder | 4 | l1
Term83 | cn82 | Line83 | Terminal | 123BusFeeder | 7 | l1
Term84 | cn84 | Line84 | Terminal | 123BusFeeder | 4 | l1
Term85 | cn86 | Line85 | Terminal | 123BusFeeder | 7 | l1
Term86 | cn87 | Line86 | Terminal | 123BusFeeder | 1 | l1
Term87 | cn87 | Line87 | Terminal | 123BusFeeder | 7 | l1
Term88 | cn89 | Line88 | Terminal | 123BusFeeder | 2 | l1
Term89 | cn89 | Line89 | Terminal | 123BusFeeder | 7 | l1
Term90 | cn91 | Line90 | Terminal | 123BusFeeder | 4 | l1
Term91 | cn91 | Line91 | Terminal | 123BusFeeder | 7 | l1
Term92 | cn93 | Line92 | Terminal | 123BusFeeder | 1 | l1
Term93 | cn93 | Line93 | Terminal | 123BusFeeder | 7 | l1
Term94 | cn95 | Line94 | Terminal | 123BusFeeder | 2 | l1
Term95 | cn97 | Line95 | Terminal | 123BusFeeder | 7 | l1
Term96 | cn98 | Line96 | Terminal | 123BusFeeder | 7 | l1
Term97 | cn99 | Line97 | Terminal | 123BusFeeder | 7 | l1
Term98 | cn100 | Line98 | Terminal | 123BusFeeder | 7 | l1
Term99 | cn101 | Line99 | Terminal | 123BusFeeder | 4 | l1
Term100 | cn101 | Line100 | Terminal | 123BusFeeder | 7 | l1
Term101 | cn102 | Line101 | Terminal | 123BusFeeder | 4 | l1
Term102 | cn103 | Line102 | Terminal | 123BusFeeder | 4 | l1
Term103 | cn105 | Line103 | Terminal | 123BusFeeder | 2 | l1
Term104 | cn105 | Line104 | Terminal | 123BusFeeder | 7 | l1
Term105 | cn106 | Line105 | Terminal | 123BusFeeder | 2 | l1
Term106 | cn108 | Line106 | Terminal | 123BusFeeder | 1 | l1
Term107 | cn108 | Line107 | Terminal | 123BusFeeder | 7 | l1
Term108 | cn109 | Line108 | Terminal | 123BusFeeder | 1 | l1
Term109 | cn110 | Line109 | Terminal | 123BusFeeder | 1 | l1
Term110 | cn110 | Line110 | Terminal | 123BusFeeder | 1 | l1
Term111 | cn112 | Line111 | Terminal | 123BusFeeder | 1 | l1
Term112 | cn113 | Line112 | Terminal | 123BusFeeder | 1 | l1
Term113 | cn135 | Line113 | Terminal | 123BusFeeder | 7 | l1
Term114 | cn149 | Line114 | Terminal | 123BusFeeder | 7 | l1
Term115 | cn152 | Line115 | Terminal | 123BusFeeder | 7 | l1
Term116 | cn160 | Line116 | Terminal | 123BusFeeder | 7 | l1
Term117 | cn197 | Line117 | Terminal | 123BusFeeder | 7 | l1
Term118 | cn1 | Line1 | Terminal | 123BusFeeder | 2 | l1
Term119 | cn3 | Line2 | Terminal | 123BusFeeder | 4 | l1
Term120 | cn7 | Line3 | Terminal | 123BusFeeder | 7 | l1
Term121 | cn4 | Line4 | Terminal | 123BusFeeder | 4 | l1
Term122 | cn5 | Line5 | Terminal | 123BusFeeder | 4 | l1
Term123 | cn6 | Line6 | Terminal | 123BusFeeder | 4 | l1
Term124 | cn8 | Line7 | Terminal | 123BusFeeder | 7 | l1
Term125 | cn12 | Line8 | Terminal | 123BusFeeder | 2 | l1
Term126 | cn9 | Line9 | Terminal | 123BusFeeder | 1 | l1
Term127 | cn13 | Line10 | Terminal | 123BusFeeder | 7 | l1
Term128 | cn14 | Line11 | Terminal | 123BusFeeder | 1 | l1
Term129 | cn34 | Line12 | Terminal | 123BusFeeder | 4 | l1
Term130 | cn18 | Line13 | Terminal | 123BusFeeder | 7 | l1
Term131 | cn11 | Line14 | Terminal | 123BusFeeder | 1 | l1
Term132 | cn10 | Line15 | Terminal | 123BusFeeder | 1 | l1
Term133 | cn16 | Line16 | Terminal | 123BusFeeder | 4 | l1
Term134 | cn17 | Line17 | Terminal | 123BusFeeder | 4 | l1
Term135 | cn19 | Line18 | Terminal | 123BusFeeder | 1 | l1
Term136 | cn21 | Line19 | Terminal | 123BusFeeder | 7 | l1
Term137 | cn20 | Line20 | Terminal | 123BusFeeder | 1 | l1
Term138 | cn22 | Line21 | Terminal | 123BusFeeder | 2 | l1
Term139 | cn23 | Line22 | Terminal | 123BusFeeder | 7 | l1
Term140 | cn24 | Line23 | Terminal | 123BusFeeder | 4 | l1
Term141 | cn25 | Line24 | Terminal | 123BusFeeder | 7 | l1
Term142 | cn26 | Line25 | Terminal | 123BusFeeder | 5 | l1
Term143 | cn28 | Line26 | Terminal | 123BusFeeder | 7 | l1
Term144 | cn27 | Line27 | Terminal | 123BusFeeder | 5 | l1
Term145 | cn31 | Line28 | Terminal | 123BusFeeder | 4 | l1
Term146 | cn33 | Line29 | Terminal | 123BusFeeder | 1 | l1
Term147 | cn29 | Line30 | Terminal | 123BusFeeder | 7 | l1
Term148 | cn30 | Line31 | Terminal | 123BusFeeder | 7 | l1
Term149 | cn250 | Line32 | Terminal | 123BusFeeder | 7 | l1
Term150 | cn32 | Line33 | Terminal | 123BusFeeder | 4 | l1
Term151 | cn15 | Line34 | Terminal | 123BusFeeder | 4 | l1
Term152 | cn36 | Line35 | Terminal | 123BusFeeder | 3 | l1
Term153 | cn40 | Line36 | Terminal | 123BusFeeder | 7 | l1
Term154 | cn37 | Line37 | Terminal | 123BusFeeder | 1 | l1
Term155 | cn38 | Line38 | Terminal | 123BusFeeder | 2 | l1
Term156 | cn39 | Line39 | Terminal | 123BusFeeder | 2 | l1
Term157 | cn41 | Line40 | Terminal | 123BusFeeder | 4 | l1
Term158 | cn42 | Line41 | Terminal | 123BusFeeder | 7 | l1
Term159 | cn43 | Line42 | Terminal | 123BusFeeder | 2 | l1
Term160 | cn44 | Line43 | Terminal | 123BusFeeder | 7 | l1
Term161 | cn45 | Line44 | Terminal | 123BusFeeder | 1 | l1
Term162 | cn47 | Line45 | Terminal | 123BusFeeder | 7 | l1
Term163 | cn46 | Line46 | Terminal | 123BusFeeder | 1 | l1
Term164 | cn48 | Line47 | Terminal | 123BusFeeder | 7 | l1
Term165 | cn49 | Line48 | Terminal | 123BusFeeder | 7 | l1
Term166 | cn50 | Line49 | Terminal | 123BusFeeder | 7 | l1
Term167 | cn51 | Line50 | Terminal | 123BusFeeder | 7 | l1
Term168 | cn53 | Line51 | Terminal | 123BusFeeder | 7 | l1
Term169 | cn54 | Line52 | Terminal | 123BusFeeder | 7 | l1
Term170 | cn55 | Line53 | Terminal | 123BusFeeder | 7 | l1
Term171 | cn57 | Line54 | Terminal | 123BusFeeder | 7 | l1
Term172 | cn56 | Line55 | Terminal | 123BusFeeder | 7 | l1
Term173 | cn58 | Line56 | Terminal | 123BusFeeder | 2 | l1
Term174 | cn60 | Line57 | Terminal | 123BusFeeder | 7 | l1
Term175 | cn59 | Line58 | Terminal | 123BusFeeder | 2 | l1
Term176 | cn61 | Line59 | Terminal | 123BusFeeder | 7 | l1
Term177 | cn62 | Line60 | Terminal | 123BusFeeder | 7 | l1
Term178 | cn63 | Line61 | Terminal | 123BusFeeder | 7 | l1
Term179 | cn64 | Line62 | Terminal | 123BusFeeder | 7 | l1
Term180 | cn65 | Line63 | Terminal | 123BusFeeder | 7 | l1
Term181 | cn66 | Line64 | Terminal | 123BusFeeder | 7 | l1
Term182 | cn68 | Line65 | Terminal | 123BusFeeder | 1 | l1
Term183 | cn72 | Line66 | Terminal | 123BusFeeder | 7 | l1
Term184 | cn97 | Line67 | Terminal | 123BusFeeder | 7 | l1
Term185 | cn69 | Line68 | Terminal | 123BusFeeder | 1 | l1
Term186 | cn70 | Line69 | Terminal | 123BusFeeder | 1 | l1
Term187 | cn71 | Line70 | Terminal | 123BusFeeder | 1 | l1
Term188 | cn73 | Line71 | Terminal | 123BusFeeder | 4 | l1
Term189 | cn76 | Line72 | Terminal | 123BusFeeder | 7 | l1
Term190 | cn74 | Line73 | Terminal | 123BusFeeder | 4 | l1
Term191 | cn75 | Line74 | Terminal | 123BusFeeder | 4 | l1
Term192 | cn77 | Line75 | Terminal | 123BusFeeder | 7 | l1
Term193 | cn86 | Line76 | Terminal | 123BusFeeder | 7 | l1
Term194 | cn78 | Line77 | Terminal | 123BusFeeder | 7 | l1
Term195 | cn79 | Line78 | Terminal | 123BusFeeder | 7 | l1
Term196 | cn80 | Line79 | Terminal | 123BusFeeder | 7 | l1
Term197 | cn81 | Line80 | Terminal | 123BusFeeder | 7 | l1
Term198 | cn82 | Line81 | Terminal | 123BusFeeder | 7 | l1
Term199 | cn84 | Line82 | Terminal | 123BusFeeder | 4 | l1
Term200 | cn83 | Line83 | Terminal | 123BusFeeder | 7 | l1
Term201 | cn85 | Line84 | Terminal | 123BusFeeder | 4 | l1
Term202 | cn87 | Line85 | Terminal | 123BusFeeder | 7 | l1
Term203 | cn88 | Line86 | Terminal | 123BusFeeder | 1 | l1
Term204 | cn89 | Line87 | Terminal | 123BusFeeder | 7 | l1
Term205 | cn90 | Line88 | Terminal | 123BusFeeder | 2 | l1
Term206 | cn91 | Line89 | Terminal | 123BusFeeder | 7 | l1
Term207 | cn92 | Line90 | Terminal | 123BusFeeder | 4 | l1
Term208 | cn93 | Line91 | Terminal | 123BusFeeder | 7 | l1
Term209 | cn94 | Line92 | Terminal | 123BusFeeder | 1 | l1
Term210 | cn95 | Line93 | Terminal | 123BusFeeder | 7 | l1
Term211 | cn96 | Line94 | Terminal | 123BusFeeder | 2 | l1
Term212 | cn98 | Line95 | Terminal | 123BusFeeder | 7 | l1
Term213 | cn99 | Line96 | Terminal | 123BusFeeder | 7 | l1
Term214 | cn100 | Line97 | Terminal | 123BusFeeder | 7 | l1
Term215 | cn450 | Line98 | Terminal | 123BusFeeder | 7 | l1
Term216 | cn102 | Line99 | Terminal | 123BusFeeder | 4 | l1
Term217 | cn105 | Line100 | Terminal | 123BusFeeder | 7 | l1
Term218 | cn103 | Line101 | Terminal | 123BusFeeder | 4 | l1
Term219 | cn104 | Line102 | Terminal | 123BusFeeder | 4 | l1
Term220 | cn106 | Line103 | Terminal | 123BusFeeder | 2 | l1
Term221 | cn108 | Line104 | Terminal | 123BusFeeder | 7 | l1
Term222 | cn107 | Line105 | Terminal | 123BusFeeder | 2 | l1
Term223 | cn109 | Line106 | Terminal | 123BusFeeder | 1 | l1
Term224 | cn300 | Line107 | Terminal | 123BusFeeder | 7 | l1
Term225 | cn110 | Line108 | Terminal | 123BusFeeder | 1 | l1
Term226 | cn111 | Line109 | Terminal | 123BusFeeder | 1 | l1
Term227 | cn112 | Line110 | Terminal | 123BusFeeder | 1 | l1
Term228 | cn113 | Line111 | Terminal | 123BusFeeder | 1 | l1
Term229 | cn114 | Line112 | Terminal | 123BusFeeder | 1 | l1
Term230 | cn35 | Line113 | Terminal | 123BusFeeder | 7 | l1
Term231 | cn1 | Line114 | Terminal | 123BusFeeder | 7 | l1
Term232 | cn52 | Line115 | Terminal | 123BusFeeder | 7 | l1
Term233 | cn67 | Line116 | Terminal | 123BusFeeder | 7 | l1
Term234 | cn101 | Line117 | Terminal | 123BusFeeder | 7 | l1
Term235 | cn1 | Load1 | Terminal | 123BusFeeder | 1 | l1
Term236 | cn2 | Load2 | Terminal | 123BusFeeder | 2 | l1
Term237 | cn4 | Load3 | Terminal | 123BusFeeder | 4 | l1
Term238 | cn5 | Load4 | Terminal | 123BusFeeder | 4 | l1
Term239 | cn6 | Load5 | Terminal | 123BusFeeder | 4 | l1
Term240 | cn7 | Load6 | Terminal | 123BusFeeder | 1 | l1
Term241 | cn9 | Load7 | Terminal | 123BusFeeder | 1 | l1
Term242 | cn10 | Load8 | Terminal | 123BusFeeder | 1 | l1
Term243 | cn11 | Load9 | Terminal | 123BusFeeder | 1 | l1
Term244 | cn12 | Load10 | Terminal | 123BusFeeder | 2 | l1
Term245 | cn16 | Load11 | Terminal | 123BusFeeder | 4 | l1
Term246 | cn17 | Load12 | Terminal | 123BusFeeder | 4 | l1
Term247 | cn19 | Load13 | Terminal | 123BusFeeder | 1 | l1
Term248 | cn20 | Load14 | Terminal | 123BusFeeder | 1 | l1
Term249 | cn22 | Load15 | Terminal | 123BusFeeder | 2 | l1
Term250 | cn24 | Load16 | Terminal | 123BusFeeder | 4 | l1
Term251 | cn28 | Load17 | Terminal | 123BusFeeder | 1 | l1
Term252 | cn29 | Load18 | Terminal | 123BusFeeder | 1 | l1
Term253 | cn30 | Load19 | Terminal | 123BusFeeder | 4 | l1
Term254 | cn31 | Load20 | Terminal | 123BusFeeder | 4 | l1
Term255 | cn32 | Load21 | Terminal | 123BusFeeder | 4 | l1
Term256 | cn33 | Load22 | Terminal | 123BusFeeder | 1 | l1
Term257 | cn34 | Load23 | Terminal | 123BusFeeder | 4 | l1
Term258 | cn35 | Load24 | Terminal | 123BusFeeder | 1 | l1
Term259 | cn37 | Load25 | Terminal | 123BusFeeder | 1 | l1
Term260 | cn38 | Load26 | Terminal | 123BusFeeder | 2 | l1
Term261 | cn39 | Load27 | Terminal | 123BusFeeder | 2 | l1
Term262 | cn41 | Load28 | Terminal | 123BusFeeder | 4 | l1
Term263 | cn42 | Load29 | Terminal | 123BusFeeder | 1 | l1
Term264 | cn43 | Load30 | Terminal | 123BusFeeder | 2 | l1
Term265 | cn45 | Load31 | Terminal | 123BusFeeder | 1 | l1
Term266 | cn46 | Load32 | Terminal | 123BusFeeder | 1 | l1
Term267 | cn47 | Load33 | Terminal | 123BusFeeder | 1 | l1
Term268 | cn47 | Load34 | Terminal | 123BusFeeder | 2 | l1
Term269 | cn47 | Load35 | Terminal | 123BusFeeder | 4 | l1
Term270 | cn48 | Load36 | Terminal | 123BusFeeder | 1 | l1
Term271 | cn48 | Load37 | Terminal | 123BusFeeder | 2 | l1
Term272 | cn48 | Load38 | Terminal | 123BusFeeder | 4 | l1
Term273 | cn49 | Load39 | Terminal | 123BusFeeder | 1 | l1
Term274 | cn49 | Load40 | Terminal | 123BusFeeder | 2 | l1
Term275 | cn49 | Load41 | Terminal | 123BusFeeder | 4 | l1
Term276 | cn50 | Load42 | Terminal | 123BusFeeder | 4 | l1
Term277 | cn51 | Load43 | Terminal | 123BusFeeder | 1 | l1
Term278 | cn52 | Load44 | Terminal | 123BusFeeder | 1 | l1
Term279 | cn53 | Load45 | Terminal | 123BusFeeder | 1 | l1
Term280 | cn55 | Load46 | Terminal | 123BusFeeder | 1 | l1
Term281 | cn56 | Load47 | Terminal | 123BusFeeder | 2 | l1
Term282 | cn58 | Load48 | Terminal | 123BusFeeder | 2 | l1
Term283 | cn59 | Load49 | Terminal | 123BusFeeder | 2 | l1
Term284 | cn60 | Load50 | Terminal | 123BusFeeder | 1 | l1
Term285 | cn62 | Load51 | Terminal | 123BusFeeder | 4 | l1
Term286 | cn63 | Load52 | Terminal | 123BusFeeder | 1 | l1
Term287 | cn64 | Load53 | Terminal | 123BusFeeder | 2 | l1
Term288 | cn65 | Load54 | Terminal | 123BusFeeder | 1 | l1
Term289 | cn65 | Load55 | Terminal | 123BusFeeder | 2 | l1
Term290 | cn65 | Load56 | Terminal | 123BusFeeder | 4 | l1
Term291 | cn66 | Load57 | Terminal | 123BusFeeder | 4 | l1
Term292 | cn68 | Load58 | Terminal | 123BusFeeder | 1 | l1
Term293 | cn69 | Load59 | Terminal | 123BusFeeder | 1 | l1
Term294 | cn70 | Load60 | Terminal | 123BusFeeder | 1 | l1
Term295 | cn71 | Load61 | Terminal | 123BusFeeder | 1 | l1
Term296 | cn73 | Load62 | Terminal | 123BusFeeder | 4 | l1
Term297 | cn74 | Load63 | Terminal | 123BusFeeder | 4 | l1
Term298 | cn75 | Load64 | Terminal | 123BusFeeder | 4 | l1
Term299 | cn76 | Load65 | Terminal | 123BusFeeder | 1 | l1
Term300 | cn76 | Load66 | Terminal | 123BusFeeder | 2 | l1
Term301 | cn76 | Load67 | Terminal | 123BusFeeder | 4 | l1
Term302 | cn77 | Load68 | Terminal | 123BusFeeder | 2 | l1
Term303 | cn79 | Load69 | Terminal | 123BusFeeder | 1 | l1
Term304 | cn80 | Load70 | Terminal | 123BusFeeder | 2 | l1
Term305 | cn82 | Load71 | Terminal | 123BusFeeder | 1 | l1
Term306 | cn83 | Load72 | Terminal | 123BusFeeder | 4 | l1
Term307 | cn84 | Load73 | Terminal | 123BusFeeder | 4 | l1
Term308 | cn85 | Load74 | Terminal | 123BusFeeder | 4 | l1
Term309 | cn86 | Load75 | Terminal | 123BusFeeder | 2 | l1
Term310 | cn87 | Load76 | Terminal | 123BusFeeder | 2 | l1
Term311 | cn88 | Load77 | Terminal | 123BusFeeder | 1 | l1
Term312 | cn90 | Load78 | Terminal | 123BusFeeder | 2 | l1
Term313 | cn92 | Load79 | Terminal | 123BusFeeder | 4 | l1
Term314 | cn94 | Load80 | Terminal | 123BusFeeder | 1 | l1
Term315 | cn95 | Load81 | Terminal | 123BusFeeder | 2 | l1
Term316 | cn96 | Load82 | Terminal | 123BusFeeder | 2 | l1
Term317 | cn98 | Load83 | Terminal | 123BusFeeder | 1 | l1
Term318 | cn99 | Load84 | Terminal | 123BusFeeder | 2 | l1
Term319 | cn100 | Load85 | Terminal | 123BusFeeder | 4 | l1
Term320 | cn102 | Load86 | Terminal | 123BusFeeder | 4 | l1
Term321 | cn103 | Load87 | Terminal | 123BusFeeder | 4 | l1
Term322 | cn104 | Load88 | Terminal | 123BusFeeder | 4 | l1
Term323 | cn106 | Load89 | Terminal | 123BusFeeder | 2 | l1
Term324 | cn107 | Load90 | Terminal | 123BusFeeder | 2 | l1
Term325 | cn109 | Load91 | Terminal | 123BusFeeder | 1 | l1
Term326 | cn111 | Load92 | Terminal | 123BusFeeder | 1 | l1
Term327 | cn112 | Load93 | Terminal | 123BusFeeder | 1 | l1
Term328 | cn113 | Load94 | Terminal | 123BusFeeder | 1 | l1
Term329 | cn114 | Load95 | Terminal | 123BusFeeder | 1 | l1
Term330 | cn115 | Switch1 | Terminal | 123BusFeeder | 7 | l1
Term331 | cn116 | Switch2 | Terminal | 123BusFeeder | 7 | l1
Term332 | cn117 | Switch3 | Terminal | 123BusFeeder | 7 | l1
Term333 | cn118 | Switch4 | Terminal | 123BusFeeder | 7 | l1
Term334 | cn119 | Switch5 | Terminal | 123BusFeeder | 7 | l1
Term335 | cn120 | Switch6 | Terminal | 123BusFeeder | 7 | l1
Term336 | cn121 | Switch7 | Terminal | 123BusFeeder | 7 | l1
Term337 | cn122 | Switch8 | Terminal | 123BusFeeder | 7 | l1
Term338 | cn123 | Switch9 | Terminal | 123BusFeeder | 7 | l1
Term339 | cn124 | Switch10 | Terminal | 123BusFeeder | 7 | l1
Term340 | cn125 | Switch11 | Terminal | 123BusFeeder | 7 | l1
Term341 | cn126 | Switch1 | Terminal | 123BusFeeder | 7 | l1
Term342 | cn127 | Switch2 | Terminal | 123BusFeeder | 7 | l1
Term343 | cn128 | Switch3 | Terminal | 123BusFeeder | 7 | l1
Term344 | cn129 | Switch4 | Terminal | 123BusFeeder | 7 | l1
Term345 | cn130 | Switch5 | Terminal | 123BusFeeder | 7 | l1
Term346 | cn131 | Switch6 | Terminal | 123BusFeeder | 7 | l1
Term347 | cn132 | Switch7 | Terminal | 123BusFeeder | 7 | l1
Term348 | cn133 | Switch8 | Terminal | 123BusFeeder | 7 | l1
Term349 | cn134 | Switch9 | Terminal | 123BusFeeder | 7 | l1
Term350 | cn135 | Switch10 | Terminal | 123BusFeeder | 7 | l1
Term351 | cn136 | Switch11 | Terminal | 123BusFeeder | 7 | l1

## Switch
NormallyOpen | Terminal1 | Terminal2 | Name | Type | Line
FALSE | Term330 | Term341 | Switch1 | Switch | 123BusFeeder
FALSE | Term331 | Term342 | Switch2 | Switch | 123BusFeeder
FALSE | Term332 | Term343 | Switch3 | Switch | 123BusFeeder
FALSE | Term333 | Term344 | Switch4 | Switch | 123BusFeeder
FALSE | Term334 | Term345 | Switch5 | Switch | 123BusFeeder
FALSE | Term335 | Term346 | Switch6 | Switch | 123BusFeeder
TRUE | Term336 | Term347 | Switch7 | Switch | 123BusFeeder
TRUE | Term337 | Term348 | Switch8 | Switch | 123BusFeeder
TRUE | Term338 | Term349 | Switch9 | Switch | 123BusFeeder
TRUE | Term339 | Term350 | Switch10 | Switch | 123BusFeeder
TRUE | Term340 | Term351 | Switch11 | Switch | 123BusFeeder

## EnergyConsumer
Name | pFixed | qFixed | phaseConnection | LoadResponse | Terminal1 | Phases | Type | Line
Load1 | 40 | 20 | Y | PQ | Term235 | 1 | EnergyConsumer | 123BusFeeder
Load2 | 20 | 10 | Y | PQ | Term236 | 2 | EnergyConsumer | 123BusFeeder
Load3 | 40 | 20 | Y | PQ | Term237 | 4 | EnergyConsumer | 123BusFeeder
Load4 | 20 | 10 | Y | I | Term238 | 4 | EnergyConsumer | 123BusFeeder
Load5 | 40 | 20 | Y | Z | Term239 | 4 | EnergyConsumer | 123BusFeeder
Load6 | 20 | 10 | Y | PQ | Term240 | 1 | EnergyConsumer | 123BusFeeder
Load7 | 40 | 20 | Y | PQ | Term241 | 1 | EnergyConsumer | 123BusFeeder
Load8 | 20 | 10 | Y | I | Term242 | 1 | EnergyConsumer | 123BusFeeder
Load9 | 40 | 20 | Y | Z | Term243 | 1 | EnergyConsumer | 123BusFeeder
Load10 | 20 | 10 | Y | PQ | Term244 | 2 | EnergyConsumer | 123BusFeeder
Load11 | 40 | 20 | Y | PQ | Term245 | 4 | EnergyConsumer | 123BusFeeder
Load12 | 20 | 10 | Y | PQ | Term246 | 4 | EnergyConsumer | 123BusFeeder
Load13 | 40 | 20 | Y | PQ | Term247 | 1 | EnergyConsumer | 123BusFeeder
Load14 | 40 | 20 | Y | I | Term248 | 1 | EnergyConsumer | 123BusFeeder
Load15 | 40 | 20 | Y | Z | Term249 | 2 | EnergyConsumer | 123BusFeeder
Load16 | 40 | 20 | Y | PQ | Term250 | 4 | EnergyConsumer | 123BusFeeder
Load17 | 40 | 20 | Y | I | Term251 | 1 | EnergyConsumer | 123BusFeeder
Load18 | 40 | 20 | Y | Z | Term252 | 1 | EnergyConsumer | 123BusFeeder
Load19 | 40 | 20 | Y | PQ | Term253 | 4 | EnergyConsumer | 123BusFeeder
Load20 | 20 | 10 | Y | PQ | Term254 | 4 | EnergyConsumer | 123BusFeeder
Load21 | 20 | 10 | Y | PQ | Term255 | 4 | EnergyConsumer | 123BusFeeder
Load22 | 40 | 20 | Y | I | Term256 | 1 | EnergyConsumer | 123BusFeeder
Load23 | 40 | 20 | Y | Z | Term257 | 4 | EnergyConsumer | 123BusFeeder
Load24 | 40 | 20 | D | PQ | Term258 | 1 | EnergyConsumer | 123BusFeeder
Load25 | 40 | 20 | Y | Z | Term259 | 1 | EnergyConsumer | 123BusFeeder
Load26 | 20 | 10 | Y | I | Term260 | 2 | EnergyConsumer | 123BusFeeder
Load27 | 20 | 10 | Y | PQ | Term261 | 2 | EnergyConsumer | 123BusFeeder
Load28 | 20 | 10 | Y | PQ | Term262 | 4 | EnergyConsumer | 123BusFeeder
Load29 | 20 | 10 | Y | PQ | Term263 | 1 | EnergyConsumer | 123BusFeeder
Load30 | 40 | 20 | Y | Z | Term264 | 2 | EnergyConsumer | 123BusFeeder
Load31 | 20 | 10 | Y | I | Term265 | 1 | EnergyConsumer | 123BusFeeder
Load32 | 20 | 10 | Y | PQ | Term266 | 1 | EnergyConsumer | 123BusFeeder
Load33 | 35 | 25 | Y | I | Term267 | 1 | EnergyConsumer | 123BusFeeder
Load34 | 35 | 25 | Y | I | Term268 | 2 | EnergyConsumer | 123BusFeeder
Load35 | 35 | 25 | Y | I | Term269 | 4 | EnergyConsumer | 123BusFeeder
Load36 | 70 | 50 | Y | Z | Term270 | 1 | EnergyConsumer | 123BusFeeder
Load37 | 70 | 50 | Y | Z | Term271 | 2 | EnergyConsumer | 123BusFeeder
Load38 | 70 | 50 | Y | Z | Term272 | 4 | EnergyConsumer | 123BusFeeder
Load39 | 35 | 25 | Y | PQ | Term273 | 1 | EnergyConsumer | 123BusFeeder
Load40 | 70 | 50 | Y | PQ | Term274 | 2 | EnergyConsumer | 123BusFeeder
Load41 | 35 | 20 | Y | PQ | Term275 | 4 | EnergyConsumer | 123BusFeeder
Load42 | 40 | 20 | Y | PQ | Term276 | 4 | EnergyConsumer | 123BusFeeder
Load43 | 20 | 10 | Y | PQ | Term277 | 1 | EnergyConsumer | 123BusFeeder
Load44 | 40 | 20 | Y | PQ | Term278 | 1 | EnergyConsumer | 123BusFeeder
Load45 | 40 | 20 | Y | PQ | Term279 | 1 | EnergyConsumer | 123BusFeeder
Load46 | 20 | 10 | Y | Z | Term280 | 1 | EnergyConsumer | 123BusFeeder
Load47 | 20 | 10 | Y | PQ | Term281 | 2 | EnergyConsumer | 123BusFeeder
Load48 | 20 | 10 | Y | I | Term282 | 2 | EnergyConsumer | 123BusFeeder
Load49 | 20 | 10 | Y | PQ | Term283 | 2 | EnergyConsumer | 123BusFeeder
Load50 | 20 | 10 | Y | PQ | Term284 | 1 | EnergyConsumer | 123BusFeeder
Load51 | 40 | 20 | Y | Z | Term285 | 4 | EnergyConsumer | 123BusFeeder
Load52 | 40 | 20 | Y | PQ | Term286 | 1 | EnergyConsumer | 123BusFeeder
Load53 | 75 | 35 | Y | I | Term287 | 2 | EnergyConsumer | 123BusFeeder
Load54 | 35 | 25 | D | Z | Term288 | 1 | EnergyConsumer | 123BusFeeder
Load55 | 35 | 25 | D | Z | Term289 | 2 | EnergyConsumer | 123BusFeeder
Load56 | 70 | 50 | D | Z | Term290 | 4 | EnergyConsumer | 123BusFeeder
Load57 | 75 | 35 | Y | PQ | Term291 | 4 | EnergyConsumer | 123BusFeeder
Load58 | 20 | 10 | Y | PQ | Term292 | 1 | EnergyConsumer | 123BusFeeder
Load59 | 40 | 20 | Y | PQ | Term293 | 1 | EnergyConsumer | 123BusFeeder
Load60 | 20 | 10 | Y | PQ | Term294 | 1 | EnergyConsumer | 123BusFeeder
Load61 | 40 | 20 | Y | PQ | Term295 | 1 | EnergyConsumer | 123BusFeeder
Load62 | 40 | 20 | Y | PQ | Term296 | 4 | EnergyConsumer | 123BusFeeder
Load63 | 40 | 20 | Y | Z | Term297 | 4 | EnergyConsumer | 123BusFeeder
Load64 | 40 | 20 | Y | PQ | Term298 | 4 | EnergyConsumer | 123BusFeeder
Load65 | 105 | 80 | D | I | Term299 | 1 | EnergyConsumer | 123BusFeeder
Load66 | 70 | 50 | D | I | Term300 | 2 | EnergyConsumer | 123BusFeeder
Load67 | 70 | 50 | D | I | Term301 | 4 | EnergyConsumer | 123BusFeeder
Load68 | 40 | 20 | Y | PQ | Term302 | 2 | EnergyConsumer | 123BusFeeder
Load69 | 40 | 20 | Y | Z | Term303 | 1 | EnergyConsumer | 123BusFeeder
Load70 | 40 | 20 | Y | PQ | Term304 | 2 | EnergyConsumer | 123BusFeeder
Load71 | 40 | 20 | Y | PQ | Term305 | 1 | EnergyConsumer | 123BusFeeder
Load72 | 20 | 10 | Y | PQ | Term306 | 4 | EnergyConsumer | 123BusFeeder
Load73 | 20 | 10 | Y | PQ | Term307 | 4 | EnergyConsumer | 123BusFeeder
Load74 | 40 | 20 | Y | PQ | Term308 | 4 | EnergyConsumer | 123BusFeeder
Load75 | 20 | 10 | Y | PQ | Term309 | 2 | EnergyConsumer | 123BusFeeder
Load76 | 40 | 20 | Y | PQ | Term310 | 2 | EnergyConsumer | 123BusFeeder
Load77 | 40 | 20 | Y | PQ | Term311 | 1 | EnergyConsumer | 123BusFeeder
Load78 | 40 | 20 | Y | I | Term312 | 2 | EnergyConsumer | 123BusFeeder
Load79 | 40 | 20 | Y | PQ | Term313 | 4 | EnergyConsumer | 123BusFeeder
Load80 | 40 | 20 | Y | PQ | Term314 | 1 | EnergyConsumer | 123BusFeeder
Load81 | 20 | 10 | Y | PQ | Term315 | 2 | EnergyConsumer | 123BusFeeder
Load82 | 20 | 10 | Y | PQ | Term316 | 2 | EnergyConsumer | 123BusFeeder
Load83 | 40 | 20 | Y | PQ | Term317 | 1 | EnergyConsumer | 123BusFeeder
Load84 | 40 | 20 | Y | PQ | Term318 | 2 | EnergyConsumer | 123BusFeeder
Load85 | 40 | 20 | Y | Z | Term319 | 4 | EnergyConsumer | 123BusFeeder
Load86 | 20 | 10 | Y | PQ | Term320 | 4 | EnergyConsumer | 123BusFeeder
Load87 | 40 | 20 | Y | PQ | Term321 | 4 | EnergyConsumer | 123BusFeeder
Load88 | 40 | 20 | Y | PQ | Term322 | 4 | EnergyConsumer | 123BusFeeder
Load89 | 40 | 20 | Y | PQ | Term323 | 2 | EnergyConsumer | 123BusFeeder
Load90 | 40 | 20 | Y | PQ | Term324 | 2 | EnergyConsumer | 123BusFeeder
Load91 | 40 | 20 | Y | PQ | Term325 | 1 | EnergyConsumer | 123BusFeeder
Load92 | 20 | 10 | Y | PQ | Term326 | 1 | EnergyConsumer | 123BusFeeder
Load93 | 20 | 10 | Y | I | Term327 | 1 | EnergyConsumer | 123BusFeeder
Load94 | 40 | 20 | Y | Z | Term328 | 1 | EnergyConsumer | 123BusFeeder
Load95 | 20 | 10 | Y | PQ | Term329 | 1 | EnergyConsumer | 123BusFeeder

## LoadResponseCharacteristic
Name | Type | pFrequencyExponent | pVoltageExponent | qFrequencyExponent | qVoltageExponent | exponentModel | pConstantCurrent | pConstantImpedance | pConstantPower | qConstantCurrent | qConstantImpedance | qConstantPower
PQ | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 0 | 1 | 0 | 0 | 1
I | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 1 | 0 | 0 | 1 | 0 | 0
Z | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 1 | 0 | 0 | 1 | 0

## LineModel
Reduced | Name | r11 | r12 | r13 | r22 | r23 | r33 | x11 | x12 | x13 | x22 | x23 | x33 | b11 | b12 | b13 | b22 | b23 | b33 | c11 | c12 | c13 | c22 | c23 | c33 | Type | Phases
TRUE | 123bus_1 | 0.088205 | 0.031214 | 0.030626 | 0.090195 | 0.031614 | 0.088967 | 0.20417 | 0.095019 | 0.072898 | 0.19852 | 0.080227 | 0.20172 | 1.0751e-08 | -3.4694e-09 | -1.3223e-09 | 1.1327e-08 | -2.2054e-09 | 1.0221e-08 | 2.8517 | -0.92029 | -0.35076 | 3.0046 | -0.58501 | 2.7113 | LineModel | 7
TRUE | 123bus_2 | 0.090195 | 0.031614 | 0.031214 | 0.088967 | 0.030626 | 0.088205 | 0.19852 | 0.080227 | 0.095019 | 0.20172 | 0.072898 | 0.20417 | 1.1327e-08 | -2.2054e-09 | -3.4694e-09 | 1.0221e-08 | -1.3223e-09 | 1.0751e-08 | 3.0046 | -0.58501 | -0.92029 | 2.7113 | -0.35076 | 2.8517 | LineModel | 7
TRUE | 123bus_3 | 0.088967 | 0.030626 | 0.031614 | 0.088205 | 0.031214 | 0.090195 | 0.20172 | 0.072898 | 0.080227 | 0.20417 | 0.095019 | 0.19852 | 1.0221e-08 | -1.3223e-09 | -2.2054e-09 | 1.0751e-08 | -3.4694e-09 | 1.1327e-08 | 2.7113 | -0.35076 | -0.58501 | 2.8517 | -0.92029 | 3.0046 | LineModel | 7
TRUE | 123bus_4 | 0.088967 | 0.031614 | 0.030626 | 0.090195 | 0.031214 | 0.088205 | 0.20172 | 0.080227 | 0.072898 | 0.19852 | 0.095019 | 0.20417 | 1.0221e-08 | 2.2054e-09 | -1.3223e-09 | 1.1327e-08 | -3.4694e-09 | 1.0751e-08 | 2.7113 | 0.58501 | -0.35076 | 3.0046 | -0.92029 | 2.8517 | LineModel | 7
TRUE | 123bus_5 | 0.090195 | 0.031214 | 0.031614 | 0.088205 | 0.030626 | 0.088967 | 0.19852 | 0.095019 | 0.080227 | 0.20417 | 0.072898 | 0.20172 | 1.1327e-08 | -3.4694e-09 | -2.2054e-09 | 1.0751e-08 | -1.3223e-09 | 1.0221e-08 | 3.0046 | -0.92029 | -0.58501 | 2.8517 | -0.35076 | 2.7113 | LineModel | 7
TRUE | 123bus_6 | 0.086667 | 0.029072 | 0.029545 | 0.087405 | 0.029924 | 0.088371 | 0.20417 | 0.072898 | 0.095019 | 0.20172 | 0.080227 | 0.19852 | 1.0751e-08 | -1.3223e-09 | -3.4694e-09 | 1.0221e-08 | -2.2054e-09 | 1.1327e-08 | 2.8517 | -0.35076 | -0.92029 | 2.7113 | -0.58501 | 3.0046 | LineModel | 7
TRUE | 123bus_7 | 0.086667 | 0 | 0.029072 | 0 | 0 | 0.087405 | 0.20417 | 0 | 0.072898 | 0 | 0 | 0.20172 | 9.688e-09 | 0 | -1.9979e-09 | 0 | 0 | 9.7922e-09 | 2.5698 | 0 | -0.52995 | 0 | 0 | 2.5975 | LineModel | 5
TRUE | 123bus_8 | 0.086667 | 0.029072 | 0 | 0.087405 | 0 | 0 | 0.20417 | 0.072898 | 0 | 0.20172 | 0 | 0 | 9.688e-09 | -1.9979e-09 | 0 | 9.7922e-09 | 0 | 0 | 2.5698 | -0.52995 | 0 | 2.5975 | 0 | 0 | LineModel | 3
TRUE | 123bus_9 | 0.25174 | 0 | 0 | 0 | 0 | 0 | 0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | 0 | 0 | 0 | 0 | 0 | LineModel | 1
TRUE | 123bus_10 | 0 | 0 | 0 | 0.25174 | 0 | 0 | 0 | 0 | 0 | 0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | 0 | 0 | LineModel | 2
TRUE | 123bus_11 | 0 | 0 | 0 | 0 | 0 | 0.25174 | 0 | 0 | 0 | 0 | 0 | 0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | LineModel | 4
TRUE | 123bus_12 | 0.28805 | 0.098447 | 0.093258 | 0.29032 | 0.098447 | 0.28805 | 0.14244 | 0.052557 | 0.040852 | 0.13564 | 0.052557 | 0.14244 | 1.2732e-07 | 0 | 0 | 1.2732e-07 | 0 | 1.2732e-07 | 33.7715 | 0 | 0 | 33.7715 | 0 | 33.7715 | LineModel | 7

## LoadProfile
Time | P | Q
0 | 0.7 | 0.5
1 | 0.68 | 0.5
2 | 0.66 | 0.45
3 | 0.63 | 0.45
4 | 0.55 | 0.45
5 | 0.55 | 0.45
6 | 0.54 | 0.45
7 | 0.54 | 0.45
8 | 0.53 | 0.4
9 | 0.53 | 0.37
10 | 0.58 | 0.38
11 | 0.59 | 0.4
12 | 0.6 | 0.46
13 | 0.68 | 0.5
14 | 0.72 | 0.51
15 | 0.75 | 0.52
16 | 0.76 | 0.58
17 | 0.79 | 0.6
18 | 0.84 | 0.8
19 | 0.85 | 0.9
20 | 0.86 | 0.95
21 | 0.88 | 0.96
22 | 0.92 | 0.96
23 | 0.93 | 0.96
24 | 0.93 | 0.96
25 | 0.94 | 0.95
26 | 0.93 | 0.94
27 | 0.93 | 0.93
28 | 0.92 | 0.92
29 | 0.9 | 0.94
30 | 0.85 | 0.95
31 | 0.82 | 0.96
32 | 0.83 | 0.92
33 | 0.8 | 0.88
34 | 0.76 | 0.85
35 | 0.76 | 0.84
36 | 0.76 | 0.83
37 | 0.74 | 0.77
38 | 0.73 | 0.72
39 | 0.72 | 0.7
40 | 0.71 | 0.66
41 | 0.7 | 0.62
42 | 0.7 | 0.55
43 | 0.7 | 0.53
44 | 0.7 | 0.52
45 | 0.7 | 0.47
46 | 0.7 | 0.47
47 | 0.7 | 0.49
48 | 0.7 | 0.52

## ACLineSegment
Length | LineModel | Name | Terminal1 | Terminal2 | Type | Line
50 | 123bus_1 | Line0 | Term01 | Term02 | ACLineSegment | 123BusFeeder
175 | 123bus_10 | Line1 | Term1 | Term118 | ACLineSegment | 123BusFeeder
250 | 123bus_11 | Line2 | Term2 | Term119 | ACLineSegment | 123BusFeeder
300 | 123bus_1 | Line3 | Term3 | Term120 | ACLineSegment | 123BusFeeder
200 | 123bus_11 | Line4 | Term4 | Term121 | ACLineSegment | 123BusFeeder
325 | 123bus_11 | Line5 | Term5 | Term122 | ACLineSegment | 123BusFeeder
250 | 123bus_11 | Line6 | Term6 | Term123 | ACLineSegment | 123BusFeeder
200 | 123bus_1 | Line7 | Term7 | Term124 | ACLineSegment | 123BusFeeder
225 | 123bus_10 | Line8 | Term8 | Term125 | ACLineSegment | 123BusFeeder
225 | 123bus_9 | Line9 | Term9 | Term126 | ACLineSegment | 123BusFeeder
300 | 123bus_1 | Line10 | Term10 | Term127 | ACLineSegment | 123BusFeeder
425 | 123bus_9 | Line11 | Term11 | Term128 | ACLineSegment | 123BusFeeder
150 | 123bus_11 | Line12 | Term12 | Term129 | ACLineSegment | 123BusFeeder
825 | 123bus_2 | Line13 | Term13 | Term130 | ACLineSegment | 123BusFeeder
250 | 123bus_9 | Line14 | Term14 | Term131 | ACLineSegment | 123BusFeeder
250 | 123bus_9 | Line15 | Term15 | Term132 | ACLineSegment | 123BusFeeder
375 | 123bus_11 | Line16 | Term16 | Term133 | ACLineSegment | 123BusFeeder
350 | 123bus_11 | Line17 | Term17 | Term134 | ACLineSegment | 123BusFeeder
250 | 123bus_9 | Line18 | Term18 | Term135 | ACLineSegment | 123BusFeeder
300 | 123bus_2 | Line19 | Term19 | Term136 | ACLineSegment | 123BusFeeder
325 | 123bus_9 | Line20 | Term20 | Term137 | ACLineSegment | 123BusFeeder
525 | 123bus_10 | Line21 | Term21 | Term138 | ACLineSegment | 123BusFeeder
250 | 123bus_2 | Line22 | Term22 | Term139 | ACLineSegment | 123BusFeeder
550 | 123bus_11 | Line23 | Term23 | Term140 | ACLineSegment | 123BusFeeder
275 | 123bus_2 | Line24 | Term24 | Term141 | ACLineSegment | 123BusFeeder
350 | 123bus_7 | Line25 | Term25 | Term142 | ACLineSegment | 123BusFeeder
200 | 123bus_2 | Line26 | Term26 | Term143 | ACLineSegment | 123BusFeeder
275 | 123bus_7 | Line27 | Term27 | Term144 | ACLineSegment | 123BusFeeder
225 | 123bus_11 | Line28 | Term28 | Term145 | ACLineSegment | 123BusFeeder
500 | 123bus_9 | Line29 | Term29 | Term146 | ACLineSegment | 123BusFeeder
300 | 123bus_2 | Line30 | Term30 | Term147 | ACLineSegment | 123BusFeeder
350 | 123bus_2 | Line31 | Term31 | Term148 | ACLineSegment | 123BusFeeder
200 | 123bus_2 | Line32 | Term32 | Term149 | ACLineSegment | 123BusFeeder
300 | 123bus_11 | Line33 | Term33 | Term150 | ACLineSegment | 123BusFeeder
100 | 123bus_11 | Line34 | Term34 | Term151 | ACLineSegment | 123BusFeeder
650 | 123bus_8 | Line35 | Term35 | Term152 | ACLineSegment | 123BusFeeder
250 | 123bus_1 | Line36 | Term36 | Term153 | ACLineSegment | 123BusFeeder
300 | 123bus_9 | Line37 | Term37 | Term154 | ACLineSegment | 123BusFeeder
250 | 123bus_10 | Line38 | Term38 | Term155 | ACLineSegment | 123BusFeeder
325 | 123bus_10 | Line39 | Term39 | Term156 | ACLineSegment | 123BusFeeder
325 | 123bus_11 | Line40 | Term40 | Term157 | ACLineSegment | 123BusFeeder
250 | 123bus_1 | Line41 | Term41 | Term158 | ACLineSegment | 123BusFeeder
500 | 123bus_10 | Line42 | Term42 | Term159 | ACLineSegment | 123BusFeeder
200 | 123bus_1 | Line43 | Term43 | Term160 | ACLineSegment | 123BusFeeder
200 | 123bus_9 | Line44 | Term44 | Term161 | ACLineSegment | 123BusFeeder
250 | 123bus_1 | Line45 | Term45 | Term162 | ACLineSegment | 123BusFeeder
300 | 123bus_9 | Line46 | Term46 | Term163 | ACLineSegment | 123BusFeeder
150 | 123bus_4 | Line47 | Term47 | Term164 | ACLineSegment | 123BusFeeder
250 | 123bus_4 | Line48 | Term48 | Term165 | ACLineSegment | 123BusFeeder
250 | 123bus_4 | Line49 | Term49 | Term166 | ACLineSegment | 123BusFeeder
250 | 123bus_4 | Line50 | Term50 | Term167 | ACLineSegment | 123BusFeeder
200 | 123bus_1 | Line51 | Term51 | Term168 | ACLineSegment | 123BusFeeder
125 | 123bus_1 | Line52 | Term52 | Term169 | ACLineSegment | 123BusFeeder
275 | 123bus_1 | Line53 | Term53 | Term170 | ACLineSegment | 123BusFeeder
350 | 123bus_3 | Line54 | Term54 | Term171 | ACLineSegment | 123BusFeeder
275 | 123bus_1 | Line55 | Term55 | Term172 | ACLineSegment | 123BusFeeder
250 | 123bus_10 | Line56 | Term56 | Term173 | ACLineSegment | 123BusFeeder
750 | 123bus_3 | Line57 | Term57 | Term174 | ACLineSegment | 123BusFeeder
250 | 123bus_10 | Line58 | Term58 | Term175 | ACLineSegment | 123BusFeeder
550 | 123bus_5 | Line59 | Term59 | Term176 | ACLineSegment | 123BusFeeder
250 | 123bus_12 | Line60 | Term60 | Term177 | ACLineSegment | 123BusFeeder
175 | 123bus_12 | Line61 | Term61 | Term178 | ACLineSegment | 123BusFeeder
350 | 123bus_12 | Line62 | Term62 | Term179 | ACLineSegment | 123BusFeeder
425 | 123bus_12 | Line63 | Term63 | Term180 | ACLineSegment | 123BusFeeder
325 | 123bus_12 | Line64 | Term64 | Term181 | ACLineSegment | 123BusFeeder
200 | 123bus_9 | Line65 | Term65 | Term182 | ACLineSegment | 123BusFeeder
275 | 123bus_3 | Line66 | Term66 | Term183 | ACLineSegment | 123BusFeeder
250 | 123bus_3 | Line67 | Term67 | Term184 | ACLineSegment | 123BusFeeder
275 | 123bus_9 | Line68 | Term68 | Term185 | ACLineSegment | 123BusFeeder
325 | 123bus_9 | Line69 | Term69 | Term186 | ACLineSegment | 123BusFeeder
275 | 123bus_9 | Line70 | Term70 | Term187 | ACLineSegment | 123BusFeeder
275 | 123bus_11 | Line71 | Term71 | Term188 | ACLineSegment | 123BusFeeder
200 | 123bus_3 | Line72 | Term72 | Term189 | ACLineSegment | 123BusFeeder
350 | 123bus_11 | Line73 | Term73 | Term190 | ACLineSegment | 123BusFeeder
400 | 123bus_11 | Line74 | Term74 | Term191 | ACLineSegment | 123BusFeeder
400 | 123bus_6 | Line75 | Term75 | Term192 | ACLineSegment | 123BusFeeder
700 | 123bus_3 | Line76 | Term76 | Term193 | ACLineSegment | 123BusFeeder
100 | 123bus_6 | Line77 | Term77 | Term194 | ACLineSegment | 123BusFeeder
225 | 123bus_6 | Line78 | Term78 | Term195 | ACLineSegment | 123BusFeeder
475 | 123bus_6 | Line79 | Term79 | Term196 | ACLineSegment | 123BusFeeder
475 | 123bus_6 | Line80 | Term80 | Term197 | ACLineSegment | 123BusFeeder
250 | 123bus_6 | Line81 | Term81 | Term198 | ACLineSegment | 123BusFeeder
675 | 123bus_11 | Line82 | Term82 | Term199 | ACLineSegment | 123BusFeeder
250 | 123bus_6 | Line83 | Term83 | Term200 | ACLineSegment | 123BusFeeder
475 | 123bus_11 | Line84 | Term84 | Term201 | ACLineSegment | 123BusFeeder
450 | 123bus_6 | Line85 | Term85 | Term202 | ACLineSegment | 123BusFeeder
175 | 123bus_9 | Line86 | Term86 | Term203 | ACLineSegment | 123BusFeeder
275 | 123bus_6 | Line87 | Term87 | Term204 | ACLineSegment | 123BusFeeder
225 | 123bus_10 | Line88 | Term88 | Term205 | ACLineSegment | 123BusFeeder
225 | 123bus_6 | Line89 | Term89 | Term206 | ACLineSegment | 123BusFeeder
300 | 123bus_11 | Line90 | Term90 | Term207 | ACLineSegment | 123BusFeeder
225 | 123bus_6 | Line91 | Term91 | Term208 | ACLineSegment | 123BusFeeder
275 | 123bus_9 | Line92 | Term92 | Term209 | ACLineSegment | 123BusFeeder
300 | 123bus_6 | Line93 | Term93 | Term210 | ACLineSegment | 123BusFeeder
200 | 123bus_10 | Line94 | Term94 | Term211 | ACLineSegment | 123BusFeeder
275 | 123bus_3 | Line95 | Term95 | Term212 | ACLineSegment | 123BusFeeder
550 | 123bus_3 | Line96 | Term96 | Term213 | ACLineSegment | 123BusFeeder
300 | 123bus_3 | Line97 | Term97 | Term214 | ACLineSegment | 123BusFeeder
800 | 123bus_3 | Line98 | Term98 | Term215 | ACLineSegment | 123BusFeeder
225 | 123bus_11 | Line99 | Term99 | Term216 | ACLineSegment | 123BusFeeder
275 | 123bus_3 | Line100 | Term100 | Term217 | ACLineSegment | 123BusFeeder
325 | 123bus_11 | Line101 | Term101 | Term218 | ACLineSegment | 123BusFeeder
700 | 123bus_11 | Line102 | Term102 | Term219 | ACLineSegment | 123BusFeeder
225 | 123bus_10 | Line103 | Term103 | Term220 | ACLineSegment | 123BusFeeder
325 | 123bus_3 | Line104 | Term104 | Term221 | ACLineSegment | 123BusFeeder
575 | 123bus_10 | Line105 | Term105 | Term222 | ACLineSegment | 123BusFeeder
450 | 123bus_9 | Line106 | Term106 | Term223 | ACLineSegment | 123BusFeeder
1000 | 123bus_3 | Line107 | Term107 | Term224 | ACLineSegment | 123BusFeeder
300 | 123bus_9 | Line108 | Term108 | Term225 | ACLineSegment | 123BusFeeder
575 | 123bus_9 | Line109 | Term109 | Term226 | ACLineSegment | 123BusFeeder
125 | 123bus_9 | Line110 | Term110 | Term227 | ACLineSegment | 123BusFeeder
525 | 123bus_9 | Line111 | Term111 | Term228 | ACLineSegment | 123BusFeeder
325 | 123bus_9 | Line112 | Term112 | Term229 | ACLineSegment | 123BusFeeder
375 | 123bus_4 | Line113 | Term113 | Term230 | ACLineSegment | 123BusFeeder
400 | 123bus_1 | Line114 | Term114 | Term231 | ACLineSegment | 123BusFeeder
400 | 123bus_1 | Line115 | Term115 | Term232 | ACLineSegment | 123BusFeeder
350 | 123bus_6 | Line116 | Term116 | Term233 | ACLineSegment | 123BusFeeder
250 | 123bus_3 | Line117 | Term117 | Term234 | ACLineSegment | 123BusFeeder

## Line
Name | Substation | Type | Bus1 | BaseKV
123BusFeeder | default | Line | cn0 | 12.1

## PowerTransformer
Name | Type | TransformerEnd1 | TransformerEnd2 | Line

## PowerTransformerEnd
Name | PowerTransformer | Type | Terminal1 | Line | phaseConnection | BaseKV | R | R0 | X | X0 | G | G0

## Substation
Name | Type
default | Substation

## PositionPoint
Name | Xposition | Yposition | Type
1 | 700 | 1500 | PositionPoint
2 | 700 | 1675 | PositionPoint
3 | 700 | 1250 | PositionPoint
4 | 700 | 1050 | PositionPoint
5 | 1025 | 1250 | PositionPoint
6 | 1275 | 1150 | PositionPoint
7 | 1000 | 1500 | PositionPoint
8 | 1200 | 1500 | PositionPoint
9 | 1200 | 1725 | PositionPoint
10 | 1450 | 2150 | PositionPoint
11 | 950 | 2150 | PositionPoint
12 | 1200 | 1275 | PositionPoint
13 | 1500 | 1500 | PositionPoint
14 | 1200 | 2150 | PositionPoint
15 | 1500 | 1250 | PositionPoint
16 | 1500 | 875 | PositionPoint
17 | 1850 | 1250 | PositionPoint
18 | 1500 | 2325 | PositionPoint
19 | 1250 | 2325 | PositionPoint
20 | 925 | 2325 | PositionPoint
21 | 1500 | 2625 | PositionPoint
22 | 975 | 2625 | PositionPoint
23 | 1500 | 2875 | PositionPoint
24 | 950 | 2875 | PositionPoint
25 | 1500 | 3150 | PositionPoint
26 | 1150 | 3150 | PositionPoint
27 | 875 | 3150 | PositionPoint
28 | 1500 | 3350 | PositionPoint
29 | 1500 | 3650 | PositionPoint
30 | 1850 | 3650 | PositionPoint
31 | 1150 | 3375 | PositionPoint
32 | 1150 | 3675 | PositionPoint
33 | 875 | 3650 | PositionPoint
34 | 1500 | 1350 | PositionPoint
35 | 1975 | 2325 | PositionPoint
36 | 2075 | 2000 | PositionPoint
37 | 1775 | 2000 | PositionPoint
38 | 2325 | 2000 | PositionPoint
39 | 2650 | 2000 | PositionPoint
40 | 1975 | 2575 | PositionPoint
41 | 2300 | 2575 | PositionPoint
42 | 1975 | 2825 | PositionPoint
43 | 2475 | 2825 | PositionPoint
44 | 1975 | 3025 | PositionPoint
45 | 2175 | 3025 | PositionPoint
46 | 2475 | 3025 | PositionPoint
47 | 1975 | 3275 | PositionPoint
48 | 1825 | 3275 | PositionPoint
49 | 2225 | 3275 | PositionPoint
50 | 2475 | 3275 | PositionPoint
51 | 2725 | 3275 | PositionPoint
52 | 2000 | 1500 | PositionPoint
53 | 2200 | 1500 | PositionPoint
54 | 2325 | 1500 | PositionPoint
55 | 2600 | 1500 | PositionPoint
56 | 2875 | 1500 | PositionPoint
57 | 2325 | 1850 | PositionPoint
58 | 2075 | 1850 | PositionPoint
59 | 1825 | 1850 | PositionPoint
60 | 3075 | 1850 | PositionPoint
61 | 3075 | 1300 | PositionPoint
610 | 3275 | 1300 | PositionPoint
62 | 3075 | 2100 | PositionPoint
63 | 3075 | 2275 | PositionPoint
64 | 3075 | 2625 | PositionPoint
65 | 2650 | 2625 | PositionPoint
66 | 2650 | 2300 | PositionPoint
67 | 3525 | 1850 | PositionPoint
68 | 3725 | 1850 | PositionPoint
69 | 4000 | 1850 | PositionPoint
70 | 4325 | 1850 | PositionPoint
71 | 4600 | 1850 | PositionPoint
72 | 3525 | 1575 | PositionPoint
73 | 3800 | 1575 | PositionPoint
74 | 4150 | 1575 | PositionPoint
75 | 4550 | 1575 | PositionPoint
76 | 3525 | 1375 | PositionPoint
77 | 3925 | 1375 | PositionPoint
78 | 4025 | 1375 | PositionPoint
79 | 4250 | 1375 | PositionPoint
80 | 4025 | 900 | PositionPoint
81 | 4025 | 425 | PositionPoint
82 | 4025 | 175 | PositionPoint
83 | 4275 | 175 | PositionPoint
84 | 4700 | 425 | PositionPoint
85 | 4700 | 900 | PositionPoint
86 | 3255 | 725 | PositionPoint
87 | 3050 | 1125 | PositionPoint
88 | 2950 | 1300 | PositionPoint
89 | 2775 | 1125 | PositionPoint
90 | 2775 | 900 | PositionPoint
91 | 2550 | 1125 | PositionPoint
92 | 2550 | 825 | PositionPoint
93 | 2325 | 1125 | PositionPoint
94 | 2325 | 850 | PositionPoint
95 | 2025 | 1125 | PositionPoint
96 | 2025 | 925 | PositionPoint
97 | 3525 | 2100 | PositionPoint
98 | 3800 | 2100 | PositionPoint
99 | 4350 | 2100 | PositionPoint
100 | 4650 | 2100 | PositionPoint
101 | 3525 | 2450 | PositionPoint
102 | 3750 | 2450 | PositionPoint
103 | 4075 | 2450 | PositionPoint
104 | 4775 | 2450 | PositionPoint
105 | 3525 | 2725 | PositionPoint
106 | 3750 | 2725 | PositionPoint
107 | 4325 | 2725 | PositionPoint
108 | 3525 | 3050 | PositionPoint
109 | 3975 | 3050 | PositionPoint
110 | 4275 | 3050 | PositionPoint
111 | 4275 | 3625 | PositionPoint
112 | 4275 | 2925 | PositionPoint
113 | 4800 | 2925 | PositionPoint
114 | 5125 | 2925 | PositionPoint
135 | 1600 | 2325 | PositionPoint
149 | 300 | 1500 | PositionPoint
150 | 100 | 1500 | PositionPoint
151 | 3187 | 3928 | PositionPoint
152 | 1600 | 1500 | PositionPoint
160 | 3175 | 1850 | PositionPoint
197 | 3525 | 2200 | PositionPoint
250 | 2050 | 3650 | PositionPoint
300 | 3245 | 4010 | PositionPoint
450 | 5450 | 2100 | PositionPoint

## Location
Name | PositionPoint | Type
l1 | 1 | Location
l2 | 2 | Location
l3 | 3 | Location
l4 | 4 | Location
l5 | 5 | Location
l6 | 6 | Location
l7 | 7 | Location
l8 | 8 | Location
l9 | 9 | Location
l10 | 10 | Location
l11 | 11 | Location
l12 | 12 | Location
l13 | 13 | Location
l14 | 14 | Location
l15 | 15 | Location
l16 | 16 | Location
l17 | 17 | Location
l18 | 18 | Location
l19 | 19 | Location
l20 | 20 | Location
l21 | 21 | Location
l22 | 22 | Location
l23 | 23 | Location
l24 | 24 | Location
l25 | 25 | Location
l26 | 26 | Location
l27 | 27 | Location
l28 | 28 | Location
l29 | 29 | Location
l30 | 30 | Location
l31 | 31 | Location
l32 | 32 | Location
l33 | 33 | Location
l34 | 34 | Location
l35 | 35 | Location
l36 | 36 | Location
l37 | 37 | Location
l38 | 38 | Location
l39 | 39 | Location
l40 | 40 | Location
l41 | 41 | Location
l42 | 42 | Location
l43 | 43 | Location
l44 | 44 | Location
l45 | 45 | Location
l46 | 46 | Location
l47 | 47 | Location
l48 | 48 | Location
l49 | 49 | Location
l50 | 50 | Location
l51 | 51 | Location
l52 | 52 | Location
l53 | 53 | Location
l54 | 54 | Location
l55 | 55 | Location
l56 | 56 | Location
l57 | 57 | Location
l58 | 58 | Location
l59 | 59 | Location
l60 | 60 | Location
l61 | 61 | Location
610 | 610 | Location
l62 | 62 | Location
l63 | 63 | Location
l64 | 64 | Location
l65 | 65 | Location
l66 | 66 | Location
l67 | 67 | Location
l68 | 68 | Location
l69 | 69 | Location
l70 | 70 | Location
l71 | 71 | Location
l72 | 72 | Location
l73 | 73 | Location
l74 | 74 | Location
l75 | 75 | Location
l76 | 76 | Location
l77 | 77 | Location
l78 | 78 | Location
l79 | 79 | Location
l80 | 80 | Location
l81 | 81 | Location
l82 | 82 | Location
l83 | 83 | Location
l84 | 84 | Location
l85 | 85 | Location
l86 | 86 | Location
l87 | 87 | Location
l88 | 88 | Location
l89 | 89 | Location
l90 | 90 | Location
l91 | 91 | Location
l92 | 92 | Location
l93 | 93 | Location
l94 | 94 | Location
l95 | 95 | Location
l96 | 96 | Location
l97 | 97 | Location
l98 | 98 | Location
l99 | 99 | Location
l100 | 100 | Location
l101 | 101 | Location
l102 | 102 | Location
l103 | 103 | Location
l104 | 104 | Location
l105 | 105 | Location
l106 | 106 | Location
l107 | 107 | Location
l108 | 108 | Location
l109 | 109 | Location
l110 | 110 | Location
l111 | 111 | Location
l112 | 112 | Location
l113 | 113 | Location
l114 | 114 | Location
l115 | 135 | Location
l116 | 149 | Location
l117 | 150 | Location
l118 | 151 | Location
l119 | 152 | Location
l120 | 160 | Location
l121 | 197 | Location
l122 | 250 | Location
l123 | 300 | Location
l124 | 450 | Location