## ACLineSegment
Length | LineModel | Name | Terminal1 | Terminal2 | Type | Line
500 | lm603 | Line1 | Line1t1 | Line1t2 | ACLineSegment | 13_NodeTest
500 | lm602 | Line2 | Line2t1 | Line2t2 | ACLineSegment | 13_NodeTest
300 | lm603 | Line3 | Line3t1 | Line3t2 | ACLineSegment | 13_NodeTest
2000 | lm601 | Line4 | Line4t1 | Line4t2 | ACLineSegment | 13_NodeTest
800 | lm607 | Line5 | Line5t1 | Line5t2 | ACLineSegment | 13_NodeTest
2000 | lm601 | Line6 | Line6t1 | Line6t2 | ACLineSegment | 13_NodeTest
300 | lm604 | Line7 | Line7t1 | Line7t2 | ACLineSegment | 13_NodeTest
1000 | lm601 | Line8 | Line8t1 | Line8t2 | ACLineSegment | 13_NodeTest
300 | lm605 | Line9 | Line9t1 | Line9t2 | ACLineSegment | 13_NodeTest
500 | lm606 | Line10 | Line10t1 | Line10t2 | ACLineSegment | 13_NodeTest

## Terminal
Name | ConnectionPoint | ParentEquipment | Type | Line | Phases | Location
Line1t1 | cn632 | Line1 | Terminal | 13_NodeTest | 6 | Lcn632
Line2t1 | cn632 | Line2 | Terminal | 13_NodeTest | 7 | Lcn632
Line3t1 | cn645 | Line3 | Terminal | 13_NodeTest | 6 | Lcn645
Line4t1 | cn650 | Line4 | Terminal | 13_NodeTest | 7 | Lcn650
Line5t1 | cn684 | Line5 | Terminal | 13_NodeTest | 1 | Lcn684
Line6t1 | cn632 | Line6 | Terminal | 13_NodeTest | 7 | Lcn632
Line7t1 | cn671 | Line7 | Terminal | 13_NodeTest | 5 | Lcn671
Line8t1 | cn671 | Line8 | Terminal | 13_NodeTest | 7 | Lcn671
Line9t1 | cn684 | Line9 | Terminal | 13_NodeTest | 4 | Lcn684
Line10t1 | cn692 | Line10 | Terminal | 13_NodeTest | 7 | Lcn692
Line1t2 | cn645 | Line1 | Terminal | 13_NodeTest | 6 | Lcn645
Line2t2 | cn633 | Line2 | Terminal | 13_NodeTest | 7 | Lcn633
Line3t2 | cn646 | Line3 | Terminal | 13_NodeTest | 6 | Lcn646
Line4t2 | cn632 | Line4 | Terminal | 13_NodeTest | 7 | Lcn632
Line5t2 | cn652 | Line5 | Terminal | 13_NodeTest | 1 | Lcn652
Line6t2 | cn671 | Line6 | Terminal | 13_NodeTest | 7 | Lcn671
Line7t2 | cn684 | Line7 | Terminal | 13_NodeTest | 5 | Lcn684
Line8t2 | cn680 | Line8 | Terminal | 13_NodeTest | 7 | Lcn680
Line9t2 | cn611 | Line9 | Terminal | 13_NodeTest | 4 | Lcn611
Line10t2 | cn675 | Line10 | Terminal | 13_NodeTest | 7 | Lcn675
Switch1t1 | cn671 | Switch1 | Terminal | 13_NodeTest | 7 | Lcn671
Switch1t2 | cn692 | Switch1 | Terminal | 13_NodeTest | 7 | Lcn692
Load1t1 | cn634 | Load1 | Terminal | 13_NodeTest | 6 | Lcn634
Load2t1 | cn634 | Load2 | Terminal | 13_NodeTest | 1 | Lcn634
Load3t1 | cn645 | Load3 | Terminal | 13_NodeTest | 2 | Lcn645
Load4t1 | cn646 | Load4 | Terminal | 13_NodeTest | 2 | Lcn646
Load5t1 | cn652 | Load5 | Terminal | 13_NodeTest | 1 | Lcn652
Load6t1 | cn671 | Load6 | Terminal | 13_NodeTest | 7 | Lcn671
Load7t1 | cn675 | Load7 | Terminal | 13_NodeTest | 1 | Lcn675
Load8t1 | cn675 | Load8 | Terminal | 13_NodeTest | 2 | Lcn675
Load9t1 | cn675 | Load9 | Terminal | 13_NodeTest | 4 | Lcn675
Load10t1 | cn692 | Load10 | Terminal | 13_NodeTest | 4 | Lcn692
Load11t1 | cn611 | Load11 | Terminal | 13_NodeTest | 4 | Lcn611
Load12t1 | cn671 | Load12 | Terminal | 13_NodeTest | 1 | Lcn671
Load13t1 | cn671 | Load13 | Terminal | 13_NodeTest | 2 | Lcn671
Load14t1 | cn671 | Load14 | Terminal | 13_NodeTest | 4 | Lcn671
cap1t1 | cn675 | cap1 | Terminal | 13_NodeTest | 7 | Lcn675
cap2t1 | cn611 | cap1 | Terminal | 13_NodeTest | 4 | Lcn611
Tran1E1t1 | cn633 | Tran1E1 | Terminal | 13_NodeTest | 7 | Lcn633
Tran1E2t1 | cn634 | Tran1E2 | Terminal | 13_NodeTest | 7 | Lcn634

## LoadProfile
Time | P | Q
0 | 0.7 | 0.5
1 | 0.68 | 0.5
2 | 0.66 | 0.45
3 | 0.63 | 0.45
4 | 0.55 | 0.45
5 | 0.55 | 0.45
6 | 0.54 | 0.45
7 | 0.54 | 0.45
8 | 0.53 | 0.4
9 | 0.53 | 0.37
10 | 0.58 | 0.38
11 | 0.59 | 0.4
12 | 0.6 | 0.46
13 | 0.68 | 0.5
14 | 0.72 | 0.51
15 | 0.75 | 0.52
16 | 0.76 | 0.58
17 | 0.79 | 0.6
18 | 0.84 | 0.8
19 | 0.85 | 0.9
20 | 0.86 | 0.95
21 | 0.88 | 0.96
22 | 0.92 | 0.96
23 | 0.93 | 0.96
24 | 0.93 | 0.96
25 | 0.94 | 0.95
26 | 0.93 | 0.94
27 | 0.93 | 0.93
28 | 0.92 | 0.92
29 | 0.9 | 0.94
30 | 0.85 | 0.95
31 | 0.82 | 0.96
32 | 0.83 | 0.92
33 | 0.8 | 0.88
34 | 0.76 | 0.85
35 | 0.76 | 0.84
36 | 0.76 | 0.83
37 | 0.74 | 0.77
38 | 0.73 | 0.72
39 | 0.72 | 0.7
40 | 0.71 | 0.66
41 | 0.7 | 0.62
42 | 0.7 | 0.55
43 | 0.7 | 0.53
44 | 0.7 | 0.52
45 | 0.7 | 0.47
46 | 0.7 | 0.47
47 | 0.7 | 0.49
48 | 0.7 | 0.52

## Location
Name | PositionPoint | Type
Lcn650 | cn650 | Location
Lcn646 | cn646 | Location
Lcn645 | cn645 | Location
Lcn632 | cn632 | Location
Lcn633 | cn633 | Location
Lcn634 | cn634 | Location
Lcn670 | cn670 | Location
Lcn611 | cn611 | Location
Lcn684 | cn684 | Location
Lcn671 | cn671 | Location
Lcn692 | cn692 | Location
Lcn675 | cn675 | Location
Lcn652 | cn652 | Location
Lcn680 | cn680 | Location

## PositionPoint
Name | Xposition | Yposition | Type
cn650 | 200 | 350 | PositionPoint
cn646 | 0 | 250 | PositionPoint
cn645 | 100 | 250 | PositionPoint
cn632 | 200 | 250 | PositionPoint
cn633 | 350 | 250 | PositionPoint
cn634 | 400 | 250 | PositionPoint
cn670 | 200 | 200 | PositionPoint
cn611 | 0 | 100 | PositionPoint
cn684 | 100 | 100 | PositionPoint
cn671 | 200 | 100 | PositionPoint
cn692 | 250 | 100 | PositionPoint
cn675 | 400 | 100 | PositionPoint
cn652 | 100 | 0 | PositionPoint
cn680 | 200 | 0 | PositionPoint

## Line
Name | Type | Bus1 | BaseKV
13_NodeTest | Line | cn650 | 4.16

## Substation
Name | Type
Default | Substation

## LineModel
Reduced | Name | r11 | r12 | r13 | r22 | r23 | r33 | x11 | x12 | x13 | x22 | x23 | x33 | b11 | b12 | b13 | b22 | b23 | b33 | Type | Phases
TRUE | lm601 | 0.3465 | 0.156 | 0.158 | 0.3375 | 0.1535 | 0.3414 | 1.0179 | 0.5017 | 0.4236 | 1.0478 | 0.3849 | 1.0348 | 6.2998 | -1.9958 | -1.2595 | 5.9597 | -0.7417 | 5.6386 | LineModel | 7
TRUE | lm602 | 0.7526 | 0.158 | 0.156 | 0.7475 | 0.1535 | 0.7436 | 1.1814 | 0.4236 | 0.5017 | 1.1983 | 0.3849 | 1.2112 | 5.699 | -1.0817 | -1.6905 | 5.1795 | -0.6588 | 5.4246 | LineModel | 7
TRUE | lm603 | 0 | 0 | 0 | 1.3294 | 0.2066 | 1.3238 | 0 | 0 | 0 | 1.3471 | 0.4591 | 1.3569 | 0 | 0 | 0 | 4.7097 | -0.8999 | 4.6658 | LineModel | 6
TRUE | lm604 | 1.3238 | 0 | 0.2066 | 0 | 0 | 1.3294 | 1.3569 | 0 | 0.4591 | 0 | 0 | 1.3471 | 4.6658 | 0 | -0.8999 | 0 | 0 | 4.7097 | LineModel | 3
TRUE | lm605 | 0 | 0 | 0 | 0 | 0 | 1.3292 | 0 | 0 | 0 | 0 | 0 | 1.3475 | 0 | 0 | 0 | 0 | 0 | 4.5193 | LineModel | 4
TRUE | lm606 | 0.7982 | 0.3192 | 0.2849 | 0.7891 | 0.3192 | 0.7982 | 0.4463 | 0.0328 | -0.0143 | 0.4041 | 0.0328 | 0.4463 | 96.8897 | 0 | 0 | 96.8897 | 0 | 96.8897 | LineModel | 7
TRUE | lm607 | 1.3425 | 0 | 0 | 0 | 0 | 0 | 0.5124 | 0 | 0 | 0 | 0 | 0 | 88.9912 | 0 | 0 | 0 | 0 | 0 | LineModel | 1

## EnergyConsumer
Name | pFixed | qFixed | phaseConnection | LoadResponse | Terminal1 | Phases | Type | Line
Load1 | 120 | 90 | Y | PQ | Load1t1 | 6 | EnergyConsumer | 13_NodeTest
Load2 | 160 | 110 | Y | PQ | Load2t1 | 1 | EnergyConsumer | 13_NodeTest
Load3 | 170 | 125 | Y | PQ | Load3t1 | 2 | EnergyConsumer | 13_NodeTest
Load4 | 230 | 132 | D | Z | Load4t1 | 2 | EnergyConsumer | 13_NodeTest
Load5 | 128 | 86 | Y | Z | Load5t1 | 1 | EnergyConsumer | 13_NodeTest
Load6 | 385 | 220 | D | PQ | Load6t1 | 7 | EnergyConsumer | 13_NodeTest
Load7 | 485 | 190 | Y | PQ | Load7t1 | 1 | EnergyConsumer | 13_NodeTest
Load8 | 68 | 60 | Y | PQ | Load8t1 | 2 | EnergyConsumer | 13_NodeTest
Load9 | 290 | 212 | Y | PQ | Load9t1 | 4 | EnergyConsumer | 13_NodeTest
Load10 | 170 | 151 | D | I | Load10t1 | 4 | EnergyConsumer | 13_NodeTest
Load11 | 170 | 80 | Y | I | Load11t1 | 4 | EnergyConsumer | 13_NodeTest
Load12 | 17 | 10 | Y | PQ | Load12t1 | 1 | EnergyConsumer | 13_NodeTest
Load13 | 66 | 38 | Y | PQ | Load13t1 | 2 | EnergyConsumer | 13_NodeTest
Load14 | 117 | 68 | Y | PQ | Load14t1 | 4 | EnergyConsumer | 13_NodeTest
cap1 | 0 | 200 | Y | Z | cap1t1 | 7 | EnergyConsumer | 13_NodeTest
cap2 | 0 | 100 | Y | Z | cap2t1 | 4 | EnergyConsumer | 13_NodeTest

## LoadResponseCharacteristic
Name | Type | pFrequencyExponent | pVoltageExponent | qFrequencyExponent | qVoltageExponent | exponentModel | pConstantCurrent | pConstantImpedance | pConstantPower | qConstantCurrent | qConstantImpedance | qConstantPower
PQ | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 0 | 1 | 0 | 0 | 1
I | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 1 | 0 | 0 | 1 | 0 | 0
Z | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 1 | 0 | 0 | 1 | 0

## Switch
Name | Type | NormallyOpen | Terminal1 | Terminal2 | Line
Switch1 | Switch | FALSE | Switch1t1 | Switch1t2 | 13_NodeTest

## PowerTransformer
Name | Type | TransformerEnd1 | TransformerEnd2 | Line
Tran1 | PowerTransformer | Tran1E1 | Tran1Es | 13_NodeTest

## PowerTransformerEnd
Name | PowerTransformer | Type | Terminal1 | Line | phaseConnection | BaseKV | R | R0 | X | X0 | G | G0
Tran1E1 | Tran1 | TransformerEnd | Tran1E1t1 | 13_NodeTest | Y | 4.16 | 0 | 0 | 0 | 0 | 0 | 0
Tran1E2 | Tran1 | TransformerEnd | Tran1E2t1 | 13_NodeTest | Y | 0.48 | 0 | 0 | 0 | 0 | 0 | 0