## Substation
Name | Type
MCCo1 | Substation

## Line
Name | Substation | Type | Bus1 | BaseKV
SF2 | MCCo1 | Line | bSub0 | 12.1

## LineModel
x11 | x12 | x13 | x22 | x23 | x33 | b11 | b12 | b13 | b22 | b23 | b33 | c11 | c12 | c13 | c22 | c23 | c33 | Type | Phases | Reduced | Name | r11 | r12 | r13 | r22 | r23 | r33
0.20417 | 0.095019 | 0.072898 | 0.19852 | 0.080227 | 0.20172 | 1.0751e-08 | -3.4694e-09 | -1.3223e-09 | 1.1327e-08 | -2.2054e-09 | 1.0221e-08 | 2.8517 | -0.92029 | -0.35076 | 3.0046 | -0.58501 | 2.7113 | LineModel | 7 | TRUE | 123bus_1 | 0.088205 | 0.031214 | 0.030626 | 0.090195 | 0.031614 | 0.088967
0.19852 | 0.080227 | 0.095019 | 0.20172 | 0.072898 | 0.20417 | 1.1327e-08 | -2.2054e-09 | -3.4694e-09 | 1.0221e-08 | -1.3223e-09 | 1.0751e-08 | 3.0046 | -0.58501 | -0.92029 | 2.7113 | -0.35076 | 2.8517 | LineModel | 7 | TRUE | 123bus_2 | 0.090195 | 0.031614 | 0.031214 | 0.088967 | 0.030626 | 0.088205
0.20172 | 0.072898 | 0.080227 | 0.20417 | 0.095019 | 0.19852 | 1.0221e-08 | -1.3223e-09 | -2.2054e-09 | 1.0751e-08 | -3.4694e-09 | 1.1327e-08 | 2.7113 | -0.35076 | -0.58501 | 2.8517 | -0.92029 | 3.0046 | LineModel | 7 | TRUE | 123bus_3 | 0.088967 | 0.030626 | 0.031614 | 0.088205 | 0.031214 | 0.090195
0.20172 | 0.080227 | 0.072898 | 0.19852 | 0.095019 | 0.20417 | 1.0221e-08 | 2.2054e-09 | -1.3223e-09 | 1.1327e-08 | -3.4694e-09 | 1.0751e-08 | 2.7113 | 0.58501 | -0.35076 | 3.0046 | -0.92029 | 2.8517 | LineModel | 7 | TRUE | 123bus_4 | 0.088967 | 0.031614 | 0.030626 | 0.090195 | 0.031214 | 0.088205
0.19852 | 0.095019 | 0.080227 | 0.20417 | 0.072898 | 0.20172 | 1.1327e-08 | -3.4694e-09 | -2.2054e-09 | 1.0751e-08 | -1.3223e-09 | 1.0221e-08 | 3.0046 | -0.92029 | -0.58501 | 2.8517 | -0.35076 | 2.7113 | LineModel | 7 | TRUE | 123bus_5 | 0.090195 | 0.031214 | 0.031614 | 0.088205 | 0.030626 | 0.088967
0.20417 | 0.072898 | 0.095019 | 0.20172 | 0.080227 | 0.19852 | 1.0751e-08 | -1.3223e-09 | -3.4694e-09 | 1.0221e-08 | -2.2054e-09 | 1.1327e-08 | 2.8517 | -0.35076 | -0.92029 | 2.7113 | -0.58501 | 3.0046 | LineModel | 7 | TRUE | 123bus_6 | 0.086667 | 0.029072 | 0.029545 | 0.087405 | 0.029924 | 0.088371
0.20417 | 0 | 0.072898 | 0 | 0 | 0.20172 | 9.688e-09 | 0 | -1.9979e-09 | 0 | 0 | 9.7922e-09 | 2.5698 | 0 | -0.52995 | 0 | 0 | 2.5975 | LineModel | 5 | TRUE | 123bus_7 | 0.086667 | 0 | 0.029072 | 0 | 0 | 0.087405
0.20417 | 0.072898 | 0 | 0.20172 | 0 | 0 | 9.688e-09 | -1.9979e-09 | 0 | 9.7922e-09 | 0 | 0 | 2.5698 | -0.52995 | 0 | 2.5975 | 0 | 0 | LineModel | 3 | TRUE | 123bus_8 | 0.086667 | 0.029072 | 0 | 0.087405 | 0 | 0
0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | 0 | 0 | 0 | 0 | 0 | LineModel | 1 | TRUE | 123bus_9 | 0.25174 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | 0 | 0 | LineModel | 2 | TRUE | 123bus_10 | 0 | 0 | 0 | 0.25174 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0.25521 | 0 | 0 | 0 | 0 | 0 | 8.5591e-09 | 0 | 0 | 0 | 0 | 0 | 2.2704 | LineModel | 4 | TRUE | 123bus_11 | 0 | 0 | 0 | 0 | 0 | 0.25174
0.14244 | 0.052557 | 0.040852 | 0.13564 | 0.052557 | 0.14244 | 1.2732e-07 | 0 | 0 | 1.2732e-07 | 0 | 1.2732e-07 | 33.7715 | 0 | 0 | 33.7715 | 0 | 33.7715 | LineModel | 7 | TRUE | 123bus_12 | 0.28805 | 0.098447 | 0.093258 | 0.29032 | 0.098447 | 0.28805

## ACLineSegment
Name | Terminal1 | Terminal2 | Type | Line | LineModel | Length
linePH2a1 | linePH2a1t1 | linePH2a1t2 | ACLineSegment | SF2 | 123bus_12 | 0.25
linePH2b1 | linePH2b1t1 | linePH2b1t2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMG5a | lineMG5at1 | lineMG5at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMG5b | lineMG5bt1 | lineMG5bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMG1b | lineMG1bt1 | lineMG1bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineLeuta | lineLeutat1 | lineLeutat2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineLeutb | lineLeutbt1 | lineLeutbt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineDiv1 | lineDiv1t1 | lineDiv1t2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMan1a | lineMan1at1 | lineMan1at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMan1b | lineMan1bt1 | lineMan1bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMan2a | lineMan2at1 | lineMan2at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMan2b | lineMan2bt1 | lineMan2bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMQa | lineMQat1 | lineMQat2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineMG1a | lineMG1at1 | lineMG1at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil0a | lineVil0at1 | lineVil0at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil0b | lineVil0bt1 | lineVil0bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil1a | lineVil1at1 | lineVil1at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil1b | lineVil1bt1 | lineVil1bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil2a | lineVil2at1 | lineVil2at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil2b | lineVil2bt1 | lineVil2bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil3a | lineVil3at1 | lineVil3at2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineVil3b | lineVil3bt1 | lineVil3bt2 | ACLineSegment | SF2 | 123bus_12 | 0.25
lineSWG | lineSWGt1 | lineSWGt2 | ACLineSegment | SF2 | 123bus_12 | 0.25

## Terminal
Name | ConnectionPoint | Type | ParentEquipment | Location | Phases | Line
linePH2a1t1 | bSub4 | Terminal | linePH2a1 | Substation | 7 | SF2
linePH2b1t1 | bSub3 | Terminal | linePH2b1 | Substation | 7 | SF2
lineMG5at1 | bTW8 | Terminal | lineMG5a | Thwing | 7 | SF2
lineMG5bt1 | bTW9 | Terminal | lineMG5b | Thwing | 7 | SF2
lineMG1bt1 | bTW3 | Terminal | lineMG1b | Thwing | 7 | SF2
lineLeutat1 | bPBL6 | Terminal | lineLeuta | PBL | 7 | SF2
lineLeutbt1 | bPBL7 | Terminal | lineLeutb | PBL | 7 | SF2
lineDiv1t1 | bPBL5 | Terminal | lineDiv1 | PBL | 7 | SF2
lineMan1at1 | bPBL8 | Terminal | lineMan1a | PBL | 7 | SF2
lineMan1bt1 | bPBL9 | Terminal | lineMan1b | PBL | 7 | SF2
lineMan2at1 | bPBL10 | Terminal | lineMan2a | PBL | 7 | SF2
lineMan2bt1 | bPBL11 | Terminal | lineMan2b | NorthSwitchGear | 7 | SF2
lineMQat1 | bMD3 | Terminal | lineMQa | MatherDance | 7 | SF2
lineMG1at1 | bSG2 | Terminal | lineMG1b | NorthSwitchGear | 7 | SF2
lineVil0at1 | bLeut4 | Terminal | lineVil0a | Leutner | 7 | SF2
lineVil0bt1 | bLeut5 | Terminal | lineVil0b | Leutner | 7 | SF2
lineVil1at1 | bVil35 | Terminal | lineVil1a | VillageHouse3 | 7 | SF2
lineVil1bt1 | bVil36 | Terminal | lineVil1b | VillageHouse3 | 7 | SF2
lineVil2at1 | bVil37 | Terminal | lineVil2a | VillageHouse3 | 7 | SF2
lineVil2bt1 | bVil38 | Terminal | lineVil2b | VillageHouse3 | 7 | SF2
lineVil3at1 | bVil55 | Terminal | lineVil3a | VillageHouse5 | 7 | SF2
lineVil3bt1 | bVil56 | Terminal | lineVil3b | VillageHouse5 | 7 | SF2
linePH2a1t2 | bTW0 | Terminal | linePH2a1 | Thwing | 7 | SF2
linePH2b1t2 | bSG0 | Terminal | linePH2b1 | NorthSwitchGear | 7 | SF2
lineMG5at2 | bMD6 | Terminal | lineMG5a | MatherDance | 7 | SF2
lineMG5bt2 | bMD0 | Terminal | lineMG5b | MatherDance | 7 | SF2
lineMG1bt2 | bPBL1 | Terminal | lineMG1b | PBL | 7 | SF2
lineLeutat2 | bLeut0 | Terminal | lineLeuta | Leutner | 7 | SF2
lineLeutbt2 | bLeut1 | Terminal | lineLeutb | Leutner | 7 | SF2
lineDiv1t2 | bDiv0 | Terminal | lineDiv1 | Dively | 7 | SF2
lineMan1at2 | bMan0 | Terminal | lineMan1a | MandelCenter | 7 | SF2
lineMan1bt2 | bMan1 | Terminal | lineMan1b | MandelCenter | 7 | SF2
lineMan2at2 | bMan4 | Terminal | lineMan2a | MandelCenter | 7 | SF2
lineMan2bt2 | bMan5 | Terminal | lineMan2b | MandelCenter | 7 | SF2
lineMQat2 | bMQ1 | Terminal | lineMQa | MatherQuad | 7 | SF2
lineMG1at2 | bPBL1 | Terminal | lineMG1a | PBL | 7 | SF2
lineVil0at2 | bVil30 | Terminal | lineVil0a | VillageHouse3 | 7 | SF2
lineVil0bt2 | bVil31 | Terminal | lineVil0b | VillageHouse3 | 7 | SF2
lineVil1at2 | bVL0 | Terminal | lineVil1a | VillageLot49 | 7 | SF2
lineVil1bt2 | bVL1 | Terminal | lineVil1b | VillageLot49 | 7 | SF2
lineVil2at2 | bVil50 | Terminal | lineVil2a | VillageHouse5 | 7 | SF2
lineVil2bt2 | bVil51 | Terminal | lineVil2b | VillageHouse5 | 7 | SF2
lineVil3at2 | bVil60 | Terminal | lineVil3a | VillageHouse6 | 7 | SF2
lineVil3bt2 | bVil61 | Terminal | lineVil3b | VillageHouse6 | 7 | SF2
ldVealet1 | bTW5 | Terminal | ldVeale | Thwing | 7 | SF2
ldKSLt1 | bTW4 | Terminal | ldKSL | Thwing | 7 | SF2
ldLot29t1 | bTW6 | Terminal | ldLot29 | Thwing | 7 | SF2
ldThwingt1 | bTW6 | Terminal | ldThwing | Thwing | 7 | SF2
ldMatherDancet1 | bMD3 | Terminal | ldMatherDance | MatherDance | 7 | SF2
ldMCCoFeedert1 | bMD9 | Terminal | ldMCCoFeeder | MatherDance | 7 | SF2
ldCWRUFeedert1 | bMD8 | Terminal | ldCWRUFeeder | MatherDance | 7 | SF2
ldHarknesst1 | bMQ4 | Terminal | ldHarkness | MatherQuad | 7 | SF2
ldHaydent1 | bMQ3 | Terminal | ldHayden | MatherQuad | 7 | SF2
ldClarkt1 | bMQ5 | Terminal | ldClark | MatherQuad | 7 | SF2
ldMatherMemorialt1 | bPBL2 | Terminal | ldMatherMemorial | PBL | 7 | SF2
ldGundLawt1 | bPBL3 | Terminal | ldGundLaw | PBL | 7 | SF2
ldPBLt1 | bPBL4 | Terminal | ldPBL | PBL | 7 | SF2
ldMandelt1 | bMan3 | Terminal | ldMandel | MandelCenter | 7 | SF2
ldMandelCentert1 | bMan4 | Terminal | ldMandelCenter | MandelCenter | 7 | SF2
ldDivelyt1 | bDiv1 | Terminal | ldDively | Dively | 7 | SF2
ldLeutnert1 | bLeut13 | Terminal | ldLeutner | Leutner | 7 | SF2
ldLeutnerKitchent1 | bLeut13 | Terminal | ldLeutnerKitchen | Leutner | 7 | SF2
ldFreshmanDormst1 | bLeut14 | Terminal | ldFreshmanDorms | Leutner | 7 | SF2
ldClarkTowert1 | bLeut12 | Terminal | ldClarkTower | Leutner | 7 | SF2
ldVillageHouse3t1 | bVil34 | Terminal | ldVillageHouse3 | VillageHouse3 | 7 | SF2
ldVillageLot49t1 | bVL3 | Terminal | ldVillageLot49 | VillageLot49 | 7 | SF2
ldVillageHouse5t1 | bVil54 | Terminal | ldVillageHouse5 | VillageHouse5 | 7 | SF2
ldVillageHouse6t1 | bVil63 | Terminal | ldVillageHouse6 | VillageHouse6 | 7 | SF2
lineSWGt1 | bTW7 | Terminal | lineSWG | Thwing | 7 | SF2
lineSWGt2 | bSG0 | Terminal | lineSWG | NorthSwitchGear | 7 | SF2
swSub1t1 | bSub0 | Terminal | swSub1 | Substation | 7 | SF2
swSub2t1 | bSub0 | Terminal | swSub2 | Substation | 7 | SF2
swSub3t1 | bSub1 | Terminal | swSub3 | Substation | 7 | SF2
swSub4t1 | bSub1 | Terminal | swSub4 | Substation | 7 | SF2
swSub5t1 | bSub2 | Terminal | swSub5 | Substation | 7 | SF2
swTW1t1 | bTW0 | Terminal | swTW1 | Thwing | 7 | SF2
swTW2t1 | bTW1 | Terminal | swTW2 | Thwing | 7 | SF2
swTW3t1 | bTW1 | Terminal | swTW3 | Thwing | 7 | SF2
swTW4t1 | bTW2 | Terminal | swTW4 | Thwing | 7 | SF2
swTW5t1 | bTW2 | Terminal | swTW5 | Thwing | 7 | SF2
swTW6t1 | bTW2 | Terminal | swTW6 | Thwing | 7 | SF2
swTW7t1 | bTW6 | Terminal | swTW7 | Thwing | 7 | SF2
swTW8t1 | bTW4 | Terminal | swTW8 | Thwing | 7 | SF2
swTW9t1 | bTW5 | Terminal | swTW9 | Thwing | 7 | SF2
swTW10t1 | bTW1 | Terminal | swTW10 | Thwing | 7 | SF2
swTW11t1 | bTW1 | Terminal | swTW11 | Thwing | 7 | SF2
swMQ1t1 | bMQ1 | Terminal | swMQ1 | MatherQuad | 7 | SF2
swMQ2t1 | bMQ1 | Terminal | swMQ2 | MatherQuad | 7 | SF2
swMQ3t1 | bMQ2 | Terminal | swMQ3 | MatherQuad | 7 | SF2
swMQ4t1 | bMQ2 | Terminal | swMQ4 | MatherQuad | 7 | SF2
swMQ5t1 | bMQ2 | Terminal | swMQ5 | MatherQuad | 7 | SF2
swMD1t1 | bMD1 | Terminal | swMD1 | MatherDance | 7 | SF2
swMD2t1 | bMD2 | Terminal | swMD2 | MatherDance | 7 | SF2
swMD3t1 | bMD2 | Terminal | swMD3 | MatherDance | 7 | SF2
swMD4t1 | bMD2 | Terminal | swMD4 | MatherDance | 7 | SF2
swMD5t1 | bMD7 | Terminal | swMD5 | MatherDance | 7 | SF2
swMD6t1 | bMD7 | Terminal | swMD6 | MatherDance | 7 | SF2
swPBL1t1 | bPBL0 | Terminal | swPBL1 | PBL | 7 | SF2
swPBL2t1 | bPBL0 | Terminal | swPBL2 | PBL | 7 | SF2
swPBL3t1 | bPBL1 | Terminal | swPBL3 | PBL | 7 | SF2
swPBL4t1 | bPBL1 | Terminal | swPBL4 | PBL | 7 | SF2
swPBL5t1 | bPBL0 | Terminal | swPBL5 | PBL | 7 | SF2
swPBL6t1 | bPBL1 | Terminal | swPBL6 | PBL | 7 | SF2
swPBL7t1 | bPBL0 | Terminal | swPBL7 | PBL | 7 | SF2
swPBL8t1 | bPBL1 | Terminal | swPBL8 | PBL | 7 | SF2
swPBL9t1 | bPBL0 | Terminal | swPBL9 | PBL | 7 | SF2
swPBL10t1 | bPBL1 | Terminal | swPBL10 | PBL | 7 | SF2
swPBL11t1 | bPBL0 | Terminal | swPBL11 | PBL | 7 | SF2
swPBL12t1 | bPBL1 | Terminal | swPBL12 | PBL | 7 | SF2
swPBL13t1 | bPBL0 | Terminal | swPBL13 | PBL | 7 | SF2
swPBL14t1 | bPBL1 | Terminal | swPBL14 | PBL | 7 | SF2
swMan1t1 | bMan0 | Terminal | swMan1 | MandelCenter | 7 | SF2
swMan2t1 | bMan1 | Terminal | swMan2 | MandelCenter | 7 | SF2
swMan3t1 | bMan2 | Terminal | swMan3 | MandelCenter | 7 | SF2
swMan4t1 | bMan4 | Terminal | swMan4 | MandelCenter | 7 | SF2
swMan5t1 | bMan5 | Terminal | swMan5 | MandelCenter | 7 | SF2
swMan6t1 | bMan6 | Terminal | swMan6 | MandelCenter | 7 | SF2
swLeut1t1 | bLeut0 | Terminal | swLeut1 | Leutner | 7 | SF2
swLeut2t1 | bLeut1 | Terminal | swLeut2 | Leutner | 7 | SF2
swLeut3t1 | bLeut2 | Terminal | swLeut3 | Leutner | 7 | SF2
swLeut4t1 | bLeut3 | Terminal | swLeut4 | Leutner | 7 | SF2
swLeut5t1 | bLeut2 | Terminal | swLeut5 | Leutner | 7 | SF2
swLeut6t1 | bLeut3 | Terminal | swLeut6 | Leutner | 7 | SF2
swLeut7t1 | bLeut6 | Terminal | swLeut7 | Leutner | 7 | SF2
swLeut8t1 | bLeut6 | Terminal | swLeut8 | Leutner | 7 | SF2
swLeut9t1 | bLeut9 | Terminal | swLeut9 | Leutner | 7 | SF2
swLeut10t1 | bLeut10 | Terminal | swLeut10 | Leutner | 7 | SF2
swLeut11t1 | bLeut11 | Terminal | swLeut11 | Leutner | 7 | SF2
swLeut12t1 | bLeut11 | Terminal | swLeut12 | Leutner | 7 | SF2
swLeut13t1 | bLeut11 | Terminal | swLeut13 | Leutner | 7 | SF2
swVil31t1 | bVil30 | Terminal | swVil31 | VillageHouse3 | 7 | SF2
swVil32t1 | bVil31 | Terminal | swVil32 | VillageHouse3 | 7 | SF2
swVil33t1 | bVil32 | Terminal | swVil33 | VillageHouse3 | 7 | SF2
swVil34t1 | bVil32 | Terminal | swVil34 | VillageHouse3 | 7 | SF2
swVil35t1 | bVil32 | Terminal | swVil35 | VillageHouse3 | 7 | SF2
swVil36t1 | bVil33 | Terminal | swVil36 | VillageHouse3 | 7 | SF2
swVil37t1 | bVil33 | Terminal | swVil37 | VillageHouse3 | 7 | SF2
swVil38t1 | bVil33 | Terminal | swVil38 | VillageHouse3 | 7 | SF2
swVil51t1 | bVil50 | Terminal | swVil51 | VillageHouse5 | 7 | SF2
swVil52t1 | bVil51 | Terminal | swVil52 | VillageHouse5 | 7 | SF2
swVil53t1 | bVil52 | Terminal | swVil53 | VillageHouse5 | 7 | SF2
swVil54t1 | bVil53 | Terminal | swVil54 | VillageHouse5 | 7 | SF2
swVil55t1 | bVil52 | Terminal | swVil55 | VillageHouse5 | 7 | SF2
swVil56t1 | bVil53 | Terminal | swVil56 | VillageHouse5 | 7 | SF2
swVil61t1 | bVil60 | Terminal | swVil61 | VillageHouse6 | 7 | SF2
swVil62t1 | bVil61 | Terminal | swVil62 | VillageHouse6 | 7 | SF2
swVL1t1 | bVL0 | Terminal | swVL1 | VillageLot49 | 7 | SF2
swVL2t1 | bVL1 | Terminal | swVL2 | VillageLot49 | 7 | SF2
swVL3t1 | bVL2 | Terminal | swVL3 | VillageLot49 | 7 | SF2
swSub1t2 | bSub1 | Terminal | swSub1 | Substation | 7 | SF2
swSub2t2 | bSub2 | Terminal | swSub2 | Substation | 7 | SF2
swSub3t2 | bSub2 | Terminal | swSub3 | Substation | 7 | SF2
swSub4t2 | bSub4 | Terminal | swSub4 | Substation | 7 | SF2
swSub5t2 | bSub3 | Terminal | swSub5 | Substation | 7 | SF2
swTW1t2 | bTW1 | Terminal | swTW1 | Thwing | 7 | SF2
swTW2t2 | bTW2 | Terminal | swTW2 | Thwing | 7 | SF2
swTW3t2 | bTW3 | Terminal | swTW3 | Thwing | 7 | SF2
swTW4t2 | bTW4 | Terminal | swTW4 | Thwing | 7 | SF2
swTW5t2 | bTW5 | Terminal | swTW5 | Thwing | 7 | SF2
swTW6t2 | bTW6 | Terminal | swTW6 | Thwing | 7 | SF2
swTW7t2 | bTW7 | Terminal | swTW7 | Thwing | 7 | SF2
swTW8t2 | bTW7 | Terminal | swTW8 | Thwing | 7 | SF2
swTW9t2 | bTW7 | Terminal | swTW9 | Thwing | 7 | SF2
swTW10t2 | bTW8 | Terminal | swTW10 | Thwing | 7 | SF2
swTW11t2 | bTW9 | Terminal | swTW11 | Thwing | 7 | SF2
swMQ1t2 | bMQ2 | Terminal | swMQ1 | MatherQuad | 7 | SF2
swMQ2t2 | bMQ3 | Terminal | swMQ2 | MatherQuad | 7 | SF2
swMQ3t2 | bMQ4 | Terminal | swMQ3 | MatherQuad | 7 | SF2
swMQ4t2 | bMQ5 | Terminal | swMQ4 | MatherQuad | 7 | SF2
swMQ5t2 | bMQ6 | Terminal | swMQ5 | MatherQuad | 7 | SF2
swMD1t2 | bMD2 | Terminal | swMD1 | MatherDance | 7 | SF2
swMD2t2 | bMD5 | Terminal | swMD2 | MatherDance | 7 | SF2
swMD3t2 | bMD3 | Terminal | swMD3 | MatherDance | 7 | SF2
swMD4t2 | bMD4 | Terminal | swMD4 | MatherDance | 7 | SF2
swMD5t2 | bMD8 | Terminal | swMD5 | MatherDance | 7 | SF2
swMD6t2 | bMD9 | Terminal | swMD6 | MatherDance | 7 | SF2
swPBL1t2 | bPBL2 | Terminal | swPBL1 | PBL | 7 | SF2
swPBL2t2 | bPBL3 | Terminal | swPBL2 | PBL | 7 | SF2
swPBL3t2 | bPBL2 | Terminal | swPBL3 | PBL | 7 | SF2
swPBL4t2 | bPBL3 | Terminal | swPBL4 | PBL | 7 | SF2
swPBL5t2 | bPBL4 | Terminal | swPBL5 | PBL | 7 | SF2
swPBL6t2 | bPBL4 | Terminal | swPBL6 | PBL | 7 | SF2
swPBL7t2 | bPBL5 | Terminal | swPBL7 | PBL | 7 | SF2
swPBL8t2 | bPBL5 | Terminal | swPBL8 | PBL | 7 | SF2
swPBL9t2 | bPBL6 | Terminal | swPBL9 | PBL | 7 | SF2
swPBL10t2 | bPBL7 | Terminal | swPBL10 | PBL | 7 | SF2
swPBL11t2 | bPBL8 | Terminal | swPBL11 | PBL | 7 | SF2
swPBL12t2 | bPBL9 | Terminal | swPBL12 | PBL | 7 | SF2
swPBL13t2 | bPBL10 | Terminal | swPBL13 | PBL | 7 | SF2
swPBL14t2 | bPBL11 | Terminal | swPBL14 | PBL | 7 | SF2
swMan1t2 | bMan2 | Terminal | swMan1 | MandelCenter | 7 | SF2
swMan2t2 | bMan2 | Terminal | swMan2 | MandelCenter | 7 | SF2
swMan3t2 | bMan3 | Terminal | swMan3 | MandelCenter | 7 | SF2
swMan4t2 | bMan6 | Terminal | swMan4 | MandelCenter | 7 | SF2
swMan5t2 | bMan6 | Terminal | swMan5 | MandelCenter | 7 | SF2
swMan6t2 | bMan4 | Terminal | swMan6 | MandelCenter | 7 | SF2
swLeut1t2 | bLeut2 | Terminal | swLeut1 | Leutner | 7 | SF2
swLeut2t2 | bLeut3 | Terminal | swLeut2 | Leutner | 7 | SF2
swLeut3t2 | bLeut4 | Terminal | swLeut3 | Leutner | 7 | SF2
swLeut4t2 | bLeut5 | Terminal | swLeut4 | Leutner | 7 | SF2
swLeut5t2 | bLeut6 | Terminal | swLeut5 | Leutner | 7 | SF2
swLeut6t2 | bLeut6 | Terminal | swLeut6 | Leutner | 7 | SF2
swLeut7t2 | bLeut7 | Terminal | swLeut7 | Leutner | 7 | SF2
swLeut8t2 | bLeut8 | Terminal | swLeut8 | Leutner | 7 | SF2
swLeut9t2 | bLeut11 | Terminal | swLeut9 | Leutner | 7 | SF2
swLeut10t2 | bLeut11 | Terminal | swLeut10 | Leutner | 7 | SF2
swLeut11t2 | bLeut12 | Terminal | swLeut11 | Leutner | 7 | SF2
swLeut12t2 | bLeut13 | Terminal | swLeut12 | Leutner | 7 | SF2
swLeut13t2 | bLeut14 | Terminal | swLeut13 | Leutner | 7 | SF2
swVil31t2 | bVil32 | Terminal | swVil31 | VillageHouse3 | 7 | SF2
swVil32t2 | bVil33 | Terminal | swVil32 | VillageHouse3 | 7 | SF2
swVil33t2 | bVil34 | Terminal | swVil33 | VillageHouse3 | 7 | SF2
swVil34t2 | bVil35 | Terminal | swVil34 | VillageHouse3 | 7 | SF2
swVil35t2 | bVil37 | Terminal | swVil35 | VillageHouse3 | 7 | SF2
swVil36t2 | bVil34 | Terminal | swVil36 | VillageHouse3 | 7 | SF2
swVil37t2 | bVil36 | Terminal | swVil37 | VillageHouse3 | 7 | SF2
swVil38t2 | bVil38 | Terminal | swVil38 | VillageHouse3 | 7 | SF2
swVil51t2 | bVil52 | Terminal | swVil51 | VillageHouse5 | 7 | SF2
swVil52t2 | bVil53 | Terminal | swVil52 | VillageHouse5 | 7 | SF2
swVil53t2 | bVil54 | Terminal | swVil53 | VillageHouse5 | 7 | SF2
swVil54t2 | bVil54 | Terminal | swVil54 | VillageHouse5 | 7 | SF2
swVil55t2 | bVil55 | Terminal | swVil55 | VillageHouse5 | 7 | SF2
swVil56t2 | bVil56 | Terminal | swVil56 | VillageHouse5 | 7 | SF2
swVil61t2 | bVil61 | Terminal | swVil61 | VillageHouse6 | 7 | SF2
swVil62t2 | bVil63 | Terminal | swVil62 | VillageHouse6 | 7 | SF2
swVL1t2 | bVL2 | Terminal | swVL1 | VillageLot49 | 7 | SF2
swVL2t2 | bVL2 | Terminal | swVL2 | VillageLot49 | 7 | SF2
swVL3t2 | bVL3 | Terminal | swVL3 | VillageLot49 | 7 | SF2
TMD1end1t1 | bMD0 | Terminal | TMD1end1 | MatherDance | 7 | SF2
TMD2end1t1 | bMD6 | Terminal | TMD2end1 | MatherDance | 7 | SF2
TLeut1end1t1 | bLeut7 | Terminal | TLeut1end1 | Leutner | 7 | SF2
TLeut2end1t1 | bLeut8 | Terminal | TLeut2end1 | Leutner | 7 | SF2
TMD1end2t1 | bMD1 | Terminal | TMD1end2 | MatherDance | 7 | SF2
TMD2end2t1 | bMD7 | Terminal | TMD2end2 | MatherDance | 7 | SF2
TLeut1end2t1 | bLeut9 | Terminal | TLeut1end2 | Leutner | 7 | SF2
TLeut2end2t1 | bLeut10 | Terminal | TLeut2end2 | Leutner | 7 | SF2
swSG1t1 | bSG0 | Terminal | swSG1 | NorthSwitchGear | 7 | SF2
swSG2t1 | bSG1 | Terminal | swSG2 | NorthSwitchGear | 7 | SF2
swSG3t1 | bSG1 | Terminal | swSG3 | NorthSwitchGear | 7 | SF2
swSG1t2 | bSG1 | Terminal | swSG1 | NorthSwitchGear | 7 | SF2
swSG2t2 | bSG2 | Terminal | swSG2 | NorthSwitchGear | 7 | SF2
swSG3t2 | bSG3 | Terminal | swSG3 | NorthSwitchGear | 7 | SF2
swDiv1t1 | bDiv0 | Terminal | swDiv1 | Dively | 7 | SF2
swDiv1t2 | bDiv1 | Terminal | swDiv1 | Dively | 7 | SF2

## PowerTransformer
Name | Type | TransformerEnd1 | TransformerEnd2 | Line
TMD1 | PowerTransformer | TMD1end1 | TMD1end2 | SF2
TMD2 | PowerTransformer | TMD2end1 | TMD2end2 | SF2
TLeut1 | PowerTransformer | TLeut1end1 | TLeut1end2 | SF2
TLeut2 | PowerTransformer | TLeut2end1 | TLeut2end2 | SF2

## EnergyConsumer
Name | Terminal1 | Type | LoadResponse | phaseConnection | Line | pFixed | Qfixed
ldVeale | ldVealet1 | EnergyConsumer | Z | Y | SF2 | 40 | 20
ldKSL | ldKSLt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldLot29 | ldLot29t1 | EnergyConsumer | Z | Y | SF2 | 40 | 20
ldThwing | ldThwingt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldMatherDance | ldMatherDancet1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldMCCoFeeder | ldMCCoFeedert1 | EnergyConsumer | Z | Y | SF2 | 40 | 20
ldCWRUFeeder | ldCWRUFeedert1 | EnergyConsumer | Z | Y | SF2 | 40 | 20
ldHarkness | ldHarknesst1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldHayden | ldHaydent1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldClark | ldClarkt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldMatherMemorial | ldMatherMemorialt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldGundLaw | ldGundLawt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldPBL | ldPBLt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldMandel | ldMandelt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldMandelCenter | ldMandelCentert1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldDively | ldDivelyt1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldLeutner | ldLeutnert1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldLeutnerKitchen | ldLeutnerKitchent1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldFreshmanDorms | ldFreshmanDormst1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldClarkTower | ldClarkTowert1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldVillageHouse3 | ldVillageHouse3t1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldVillageLot49 | ldVillageLot49t1 | EnergyConsumer | Z | Y | SF2 | 40 | 20
ldVillageHouse5 | ldVillageHouse5t1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20
ldVillageHouse6 | ldVillageHouse6t1 | EnergyConsumer | PQ | Y | SF2 | 40 | 20

## PowerTransformerEnd
Name | PowerTransformer | Type | Terminal1 | Line | phaseConnection | BaseKV | R | R0 | X | X0 | G | G0
TMD1end1 | TMD1 | TransformerEnd | TMD1end1t1 | SF2 | D | 11.4 | 0.0001 | 0.002 | 0.002 | 0.01 | 0 | 0
TMD2end1 | TMD2 | TransformerEnd | TMD2end1t1 | SF2 | D | 11.4 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TLeut1end1 | TLeut1 | TransformerEnd | TLeut1end1t1 | SF2 | D | 11.4 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TLeut2end1 | TLeut2 | TransformerEnd | TLeut2end1t1 | SF2 | D | 11.4 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TMD1end2 | TMD1 | TransformerEnd | TMD1end2t1 | SF2 | Y | 2.4 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TMD2end2 | TMD2 | TransformerEnd | TMD2end2t1 | SF2 | Y | 0.12 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TLeut1end2 | TLeut1 | TransformerEnd | TLeut1end2t1 | SF2 | Y | 0.48 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0
TLeut2end2 | TLeut2 | TransformerEnd | TLeut2end2t1 | SF2 | Y | 0.48 | 0.0001 | 0.001 | 0.002 | 0.01 | 0 | 0

## LoadProfile
Time | P | Q
0 | 0.7 | 0.5
1 | 0.68 | 0.5
2 | 0.66 | 0.45
3 | 0.63 | 0.45
4 | 0.55 | 0.45
5 | 0.55 | 0.45
6 | 0.54 | 0.45
7 | 0.54 | 0.45
8 | 0.53 | 0.4
9 | 0.53 | 0.37
10 | 0.58 | 0.38
11 | 0.59 | 0.4
12 | 0.6 | 0.46
13 | 0.68 | 0.5
14 | 0.72 | 0.51
15 | 0.75 | 0.52
16 | 0.76 | 0.58
17 | 0.79 | 0.6
18 | 0.84 | 0.8
19 | 0.85 | 0.9
20 | 0.86 | 0.95
21 | 0.88 | 0.96
22 | 0.92 | 0.96
23 | 0.93 | 0.96
24 | 0.93 | 0.96
25 | 0.94 | 0.95
26 | 0.93 | 0.94
27 | 0.93 | 0.93
28 | 0.92 | 0.92
29 | 0.9 | 0.94
30 | 0.85 | 0.95
31 | 0.82 | 0.96
32 | 0.83 | 0.92
33 | 0.8 | 0.88
34 | 0.76 | 0.85
35 | 0.76 | 0.84
36 | 0.76 | 0.83
37 | 0.74 | 0.77
38 | 0.73 | 0.72
39 | 0.72 | 0.7
40 | 0.71 | 0.66
41 | 0.7 | 0.62
42 | 0.7 | 0.55
43 | 0.7 | 0.53
44 | 0.7 | 0.52
45 | 0.7 | 0.47
46 | 0.7 | 0.47
47 | 0.7 | 0.49
48 | 0.7 | 0.52

## LoadResponseCharacteristic
Name | Type | pFrequencyExponent | pVoltageExponent | qFrequencyExponent | qVoltageExponent | exponentModel | pConstantCurrent | pConstantImpedance | pConstantPower | qConstantCurrent | qConstantImpedance | qConstantPower
PQ | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 0 | 1 | 0 | 0 | 1
I | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 1 | 0 | 0 | 1 | 0 | 0
Z | LoadResponseCharacteristic | 0 | 0 | 0 | 0 | FALSE | 0 | 1 | 0 | 0 | 1 | 0

## Location
Name | PositionPoint | Type
Substation | p1 | Location
Thwing | p2 | Location
PBL | p3 | Location
MatherDance | p4 | Location
MatherQuad | p5 | Location
Dively | p6 | Location
Leutner | p7 | Location
MandelCenter | p8 | Location
NorthSwitchGear | p9 | Location
VillageHouse3 | p10 | Location
VillageHouse5 | p11 | Location
VillageHouse6 | p12 | Location
VillageLot49 | p13 | Location

## PositionPoint
Name | Yposition | Xposition | Type
p1 | 41.5038 | -81.6037 | PositionPoint
p2 | 41.5071 | -81.6083 | PositionPoint
p3 | 41.5097 | -81.6079 | PositionPoint
p4 | 41.508 | -81.6076 | PositionPoint
p5 | 41.5089 | -81.6082 | PositionPoint
p6 | 41.5102 | -81.6064 | PositionPoint
p7 | 41.5136 | -81.606 | PositionPoint
p8 | 41.5109 | -81.6056 | PositionPoint
p9 | 41.5089 | -81.6069 | PositionPoint
p10 | 41.5124 | -81.6043 | PositionPoint
p11 | 41.5133 | -81.6044 | PositionPoint
p12 | 41.5142 | -81.6044 | PositionPoint
p13 | 41.5126 | -81.6028 | PositionPoint

## Switch
Name | Type | Line | NormallyOpen | Terminal1 | Terminal2
swSub1 | Switch | SF2 | FALSE | swSub1t1 | swSub1t2
swSub2 | Switch | SF2 | FALSE | swSub2t1 | swSub2t2
swSub3 | Switch | SF2 | TRUE | swSub3t1 | swSub3t2
swSub4 | Switch | SF2 | FALSE | swSub4t1 | swSub4t2
swSub5 | Switch | SF2 | FALSE | swSub5t1 | swSub5t2
swTW1 | Switch | SF2 | FALSE | swTW1t1 | swTW1t2
swTW2 | Switch | SF2 | FALSE | swTW2t1 | swTW2t2
swTW3 | Switch | SF2 | FALSE | swTW3t1 | swTW3t2
swTW4 | Switch | SF2 | FALSE | swTW4t1 | swTW4t2
swTW5 | Switch | SF2 | FALSE | swTW5t1 | swTW5t2
swTW6 | Switch | SF2 | FALSE | swTW6t1 | swTW6t2
swTW7 | Switch | SF2 | TRUE | swTW7t1 | swTW7t2
swTW8 | Switch | SF2 | TRUE | swTW8t1 | swTW8t2
swTW9 | Switch | SF2 | TRUE | swTW9t1 | swTW9t2
swTW10 | Switch | SF2 | FALSE | swTW10t1 | swTW10t2
swTW11 | Switch | SF2 | FALSE | swTW11t1 | swTW11t2
swMQ1 | Switch | SF2 | FALSE | swMQ1t1 | swMQ1t2
swMQ2 | Switch | SF2 | FALSE | swMQ2t1 | swMQ2t2
swMQ3 | Switch | SF2 | FALSE | swMQ3t1 | swMQ3t2
swMQ4 | Switch | SF2 | FALSE | swMQ4t1 | swMQ4t2
swMQ5 | Switch | SF2 | FALSE | swMQ5t1 | swMQ5t2
swMD1 | Switch | SF2 | FALSE | swMD1t1 | swMD1t2
swMD2 | Switch | SF2 | FALSE | swMD2t1 | swMD2t2
swMD3 | Switch | SF2 | FALSE | swMD3t1 | swMD3t2
swMD4 | Switch | SF2 | FALSE | swMD4t1 | swMD4t2
swMD5 | Switch | SF2 | FALSE | swMD5t1 | swMD5t2
swMD6 | Switch | SF2 | FALSE | swMD6t1 | swMD6t2
swPBL1 | Switch | SF2 | FALSE | swPBL1t1 | swPBL1t2
swPBL2 | Switch | SF2 | TRUE | swPBL2t1 | swPBL2t2
swPBL3 | Switch | SF2 | TRUE | swPBL3t1 | swPBL3t2
swPBL4 | Switch | SF2 | FALSE | swPBL4t1 | swPBL4t2
swPBL5 | Switch | SF2 | FALSE | swPBL5t1 | swPBL5t2
swPBL6 | Switch | SF2 | TRUE | swPBL6t1 | swPBL6t2
swPBL7 | Switch | SF2 | TRUE | swPBL7t1 | swPBL7t2
swPBL8 | Switch | SF2 | FALSE | swPBL8t1 | swPBL8t2
swPBL9 | Switch | SF2 | FALSE | swPBL9t1 | swPBL9t2
swPBL10 | Switch | SF2 | FALSE | swPBL10t1 | swPBL10t2
swPBL11 | Switch | SF2 | FALSE | swPBL11t1 | swPBL11t2
swPBL12 | Switch | SF2 | FALSE | swPBL12t1 | swPBL12t2
swPBL13 | Switch | SF2 | FALSE | swPBL13t1 | swPBL13t2
swPBL14 | Switch | SF2 | FALSE | swPBL14t1 | swPBL14t2
swMan1 | Switch | SF2 | FALSE | swMan1t1 | swMan1t2
swMan2 | Switch | SF2 | TRUE | swMan2t1 | swMan2t2
swMan3 | Switch | SF2 | FALSE | swMan3t1 | swMan3t2
swMan4 | Switch | SF2 | TRUE | swMan4t1 | swMan4t2
swMan5 | Switch | SF2 | FALSE | swMan5t1 | swMan5t2
swMan6 | Switch | SF2 | FALSE | swMan6t1 | swMan6t2
swLeut1 | Switch | SF2 | FALSE | swLeut1t1 | swLeut1t2
swLeut2 | Switch | SF2 | FALSE | swLeut2t1 | swLeut2t2
swLeut3 | Switch | SF2 | FALSE | swLeut3t1 | swLeut3t2
swLeut4 | Switch | SF2 | FALSE | swLeut4t1 | swLeut4t2
swLeut5 | Switch | SF2 | FALSE | swLeut5t1 | swLeut5t2
swLeut6 | Switch | SF2 | TRUE | swLeut6t1 | swLeut6t2
swLeut7 | Switch | SF2 | FALSE | swLeut7t1 | swLeut7t2
swLeut8 | Switch | SF2 | TRUE | swLeut8t1 | swLeut8t2
swLeut9 | Switch | SF2 | FALSE | swLeut9t1 | swLeut9t2
swLeut10 | Switch | SF2 | TRUE | swLeut10t1 | swLeut10t2
swLeut11 | Switch | SF2 | FALSE | swLeut11t1 | swLeut11t2
swLeut12 | Switch | SF2 | FALSE | swLeut12t1 | swLeut12t2
swLeut13 | Switch | SF2 | FALSE | swLeut13t1 | swLeut13t2
swVil31 | Switch | SF2 | FALSE | swVil31t1 | swVil31t2
swVil32 | Switch | SF2 | FALSE | swVil32t1 | swVil32t2
swVil33 | Switch | SF2 | FALSE | swVil33t1 | swVil33t2
swVil34 | Switch | SF2 | FALSE | swVil34t1 | swVil34t2
swVil35 | Switch | SF2 | FALSE | swVil35t1 | swVil35t2
swVil36 | Switch | SF2 | TRUE | swVil36t1 | swVil36t2
swVil37 | Switch | SF2 | FALSE | swVil37t1 | swVil37t2
swVil38 | Switch | SF2 | FALSE | swVil38t1 | swVil38t2
swVil51 | Switch | SF2 | FALSE | swVil51t1 | swVil51t2
swVil52 | Switch | SF2 | FALSE | swVil52t1 | swVil52t2
swVil53 | Switch | SF2 | TRUE | swVil53t1 | swVil53t2
swVil54 | Switch | SF2 | FALSE | swVil54t1 | swVil54t2
swVil55 | Switch | SF2 | FALSE | swVil55t1 | swVil55t2
swVil56 | Switch | SF2 | FALSE | swVil56t1 | swVil56t2
swVil61 | Switch | SF2 | FALSE | swVil61t1 | swVil61t2
swVil62 | Switch | SF2 | TRUE | swVil62t1 | swVil62t2
swVL1 | Switch | SF2 | FALSE | swVL1t1 | swVL1t2
swVL2 | Switch | SF2 | TRUE | swVL2t1 | swVL2t2
swVL3 | Switch | SF2 | FALSE | swVL3t1 | swVL3t2
swSG1 | Switch | SF2 | FALSE | swSG1t1 | swSG1t2
swSG2 | Switch | SF2 | TRUE | swSG2t1 | swSG2t2
swSG3 | Switch | SF2 | FALSE | swSG3t1 | swSG3t2
swDiv1 | Switch | SF2 | FALSE | swDiv1t1 | swDiv1t2